## PG assets
POWER GRID CORPORATION OF INDIA LIMITED
Corporate Commercial Department
Corporate Office, “Saudamini” Plot No.-2
Gurgaon-122001,Haryana
PART:A : Details of Transmission Lines commissioned and under commercial operation (DOCO) during 01.04.2012 to 01.08.1202
Sl.No. | ISIS Licensee | Owner Category | Voltage | Name of the line | Line length ( Ckm ) | D.O.C.O / Comm.
1 | PGCIL | Deeemed Licensee | 765 kV | Gaya - Sasaram - Fatehpur | 484.607 | 01.04.12
2 | PGCIL | Deeemed Licensee | 220 kV | Kalpakkam - Arni I | 106.345 | 01.04.12
3 | PGCIL | Deeemed Licensee | 220 kV | Kalpakkam - Arni II | 106.345 | 01.04.12
4 | PGCIL | Deeemed Licensee | 400 kV | LILO of D/C Neelamangala - Somanhalli at Bidadi | 28.096 | 01.04.12
5 | PGCIL | Deeemed Licensee | 765 kV | LILO of Sipat - Seoni I at Bilaspur | 7.911 | 01.04.12
6 | PGCIL | Deeemed Licensee | 765 kV | LILO of Sipat - Seoni II at Bilaspur | 7.886 | 01.04.12
7 | PGCIL | Deeemed Licensee | 400 kV | Mauda - Wardha I | 123.841 | 01.04.12
8 | PGCIL | Deeemed Licensee | 765 kV | Bina - Indore (charged at 400 kV) | 311.17 | 01.04.12
9 | PGCIL | Deeemed Licensee | 400 kV | Indore - Indore I | 49.73 | 01.04.12
10 | PGCIL | Deeemed Licensee | 400 kV | Indore - Indore II | 49.73 | 01.04.12
11 | PGCIL | Deeemed Licensee | 400 kV | LILO of D/C Vindhyachal - Jabalpur III & IV at Sasan | 13.2 | 01.04.12
12 | PGCIL | Deeemed Licensee | 220 kV | LILO of ckt II of Dehri - Bodhgaya at Gaya | 21.99 | 01.04.12
13 | PGCIL | Deeemed Licensee | 400 kV | Part of LILO of D/C Lucknow - Bareilly at Shahjhapur for Roja Power Evacuation | 30.996 | 01.04.12
14 | JP-PGCIL | Licensee | 400 kV | *400kV D/C (Quad) Karcham Wangtoo Abdullahpur Transmission Line |  | 1.4.2012
15 | JP-PGCIL | Licensee | 400 kV | *LILO of Baspa Jhakri 400kV D/C line at Wangtoo Power Station |  | 1.6.2011
16 | PGCIL | Deeemed Licensee | 400 kV | Part of Jamshedpur - Baripada I | 108.294 | 01.06.12
17 | PGCIL | Deeemed Licensee | 400 kV | Part of Jamshedpur - Baripada II | 108.294 | 01.06.12
18 | PGCIL | Deeemed Licensee | 400 kV | LILO of one ckt of Agra - Bassi at Jaipur | 74.6 | 01.06.12
19 | PGCIL | Deeemed Licensee | 220 kV | LILO of another ckt of Sikar - Ratnagarh at Sikar | 5.83 | 01.05.12
20 | PGCIL | Deeemed Licensee | 132 kV | Silchar - Srikona I | 1.2 | 1.4.2012
21 | PGCIL | Deeemed Licensee | 132 kV | Silchar - Srikona II | 1.2 | 1.4.2012
22 | PGCIL | Deeemed Licensee | 132 kV | Silchar - Badarpur I | 19.2 | 01.05.12
23 | PGCIL | Deeemed Licensee | 132 kV | Silchar - Badarpur II | 19.2 | 01.05.12
24 | PGCIL | Deeemed Licensee | 400 kV | Andal - Jamshedpur I | 156.7555 | 01.05.12
25 | PGCIL | Deeemed Licensee | 400 kV | Andal - Jamshedpur II | 156.7555 | 01.05.12
26 | PGCIL | Deeemed Licensee | 765 kV | Moga - Bhiwani | 273 | 01.06.12
27 | PGCIL | Deeemed Licensee | 400 kV | Moudha - Wardha II | 123.841 | 01.06.12
28 | PGCIL | Deeemed Licensee | 765 kV | Agra - Fatehpur | 335.378 | 01.06.12
29 | PGCIL | Deeemed Licensee | 400 kV | Manesar - Neemarana I | 67.037 | 01.06.12
30 | PGCIL | Deeemed Licensee | 400 kV | Manesar - Neemarana II | 67.037 | 01.06.12
31 | PGCIL | Deeemed Licensee | 765 kV | Seoni - Wardha I upgraded to 765 kV | Already considered when the line charged at 400 kV | 01.06.12
32 | PGCIL | Deeemed Licensee | 765 kV | Seoni - Bina upgraded to 765 kV |  | 01.07.12
33 | PGCIL | Deeemed Licensee | 765 kV | Satna - Bina II | 275.635 | 01.07.12
34 | PGCIL | Deeemed Licensee | 400 kV | LILO of Lucknow - Ballia II at Sohawal | 11.898 | 01.07.12
35 | PGCIL | Deeemed Licensee | 400 kV | LILO of another ckt of Bawana - Bahadurgarh / Bhiwani - Hissar at Bhiwani | 31.03 | 01.07.12
36 | PGCIL | Deeemed Licensee | 400 kV | Nabinagar - Sasaram I | 81.115 | 01.07.12
37 | PGCIL | Deeemed Licensee | 400 kV | Nabinagar - Sasaram II | 81.115 | 01.07.12
38 | PGCIL | Deeemed Licensee | 132 kV | Part of D/C Silchar - Hailakandi | 30 | 01.07.12
39 | PGCIL | Deeemed Licensee | 400 kV | Gandhar - Navsari | 102.152 | 01.08.12
40 | PGCIL | Deeemed Licensee | 220 kV | LILO of D/C Kawas - Navsari at Navsari | 80.98 | 01.08.12
41 | PGCIL | Deeemed Licensee | 400 kV | LILO of D/C Allahabad - Mainpuri at Fatehpur | 73.78 | 01.08.12
PART:B Details of ICTs commissioned and under commercial operation (DOCO) during 01.04.12 to 01.08.12
Sl. No. | ISIS Licensee | Owner Category | Voltage ratio | Name of ICT | MVA Capacity | D.O.C.O / Comm.
1 | PGCIL | Deeemed Licensee | 765/400 kV | Wardha ICT II | 1500 | 01.04.12
2 | PGCIL | Deeemed Licensee | 765/400 kV | Gaya ICT II | 1500 | 01.04.12
3 | PGCIL | Deeemed Licensee | 765/400 kV | Gaya ICT III | 1500 | 01.04.12
4 | PGCIL | Deeemed Licensee | 765/400 kV | Bilaspur ICT I | 1500 | 01.04.12
5 | PGCIL | Deeemed Licensee | 765/400 kV | Bilaspur ICT II | 1500 | 01.04.12
6 | PGCIL | Deeemed Licensee | 765/400 kV | Fatehpur ICT I | 1500 | 01.04.12
7 | PGCIL | Deeemed Licensee | 765/400 kV | Fatehpur ICT II | 1500 | 01.04.12
8 | PGCIL | Deeemed Licensee | 400/220 kV | Bidadi ICT | 500 | 01.04.12
9 | PGCIL | Deeemed Licensee | 400/220 kV | Pallakad ICT I | 315 | 01.04.12
10 | PGCIL | Deeemed Licensee | 400/220 kV | Bhiwadi ICT III | 315 | 01.04.12
11 | PGCIL | Deeemed Licensee | 400/220 kV | Neemarana ICT I | 500 | 01.04.12
12 | PGCIL | Deeemed Licensee | 400/220 kV | Sikar ICT II | 315 | 01.04.12
13 | PGCIL | Deeemed Licensee | 400/220 kV | Jaipur ICT I | 500 | 01.06.12
14 | PGCIL | Deeemed Licensee | 765/400 kV | Bhiwani ICT I | 1000 | 01.06.12
15 | PGCIL | Deeemed Licensee | 765/400 kV | Moga ICT II | 1500 | 01.06.12
16 | PGCIL | Deeemed Licensee | 765/400 kV | Agra ICT I | 1500 | 01.06.12
17 | PGCIL | Deeemed Licensee | 765/400 kV | Gaya ICT I | 1500 | 01.06.12
18 | PGCIL | Deeemed Licensee | 400/220 kV | Manesar ICT I | 500 | 01.06.12
19 | PGCIL | Deeemed Licensee | 765/400 kV | Satna ICT | 1000 | 01.07.12
20 | PGCIL | Deeemed Licensee | 400/220 kV | Sohawal ICT I | 315 | 01.07.12
21 | PGCIL | Deeemed Licensee | 400/220 kV | Sohawal ICT II | 315 | 01.07.12
22 | PGCIL | Deeemed Licensee | 400/220 kV | Misa ICT II | 315 | 01.07.12
23 | PGCIL | Deeemed Licensee | 400/132 kV | Silchar ICT I | 200 | 01.07.12
24 | PGCIL | Deeemed Licensee | 400/132 kV | Silchar ICT II | 200 | 01.07.12
25 | PGCIL | Deeemed Licensee | 400/211 kV | Ballia HVDC POLE II | 1494 | 01.07.12
26 | PGCIL | Deeemed Licensee | 400/211 kV | BHIWADI HVDC POLE II | 1494 | 01.07.12
27 | PGCIL | Deeemed Licensee | 765/400 kV | Bilaspur ICT III | 1500 | 01.08.12
28 | PGCIL | Deeemed Licensee | 400/220 kV | Navsari ICT | 315 | 01.08.12
29 | PGCIL | Deeemed Licensee | 400/220 kV | Manesar ICT II | 500 | 01.08.12
PART:C Details of Reactor commissioned and under commercial operation (DOCO) during 01.04.12 to 01.08.12
Sl. No. | ISIS Licensee | Owner Category | Voltage | Name of Reactor | MVAR Capacity | D.O.C.O / Comm.
1 | PGCIL | Deeemed Licensee | 400 kV | LR for Bina at Indore (MPPTCL) | 125 | 01.04.12
2 | PGCIL | Deeemed Licensee | 400 kV | Shujalpur Bus Reactor | 63 | 01.04.12
3 | PGCIL | Deeemed Licensee | 765 kV | SLR for Seoni I at Bilaspur | 240 | 01.04.12
4 | PGCIL | Deeemed Licensee | 765 kV | SLR for Seoni II at Bilaspur | 240 | 01.04.12
5 | PGCIL | Deeemed Licensee | 400 kV | New Siliguri Bus Reactor II | 125 | 01.04.12
6 | PGCIL | Deeemed Licensee | 400 kV | SLR for Gaya I at Maithon | 50 | 01.04.12
7 | PGCIL | Deeemed Licensee | 400 kV | SLR for Gaya II at Maithon | 50 | 01.04.12
8 | PGCIL | Deeemed Licensee | 765 kV | SLR for Gaya - Fatehpur at Sasaram | 330 | 01.04.12
9 | PGCIL | Deeemed Licensee | 400 kV | SLR for Biharshariff III at Sasaram | 50 | 01.04.12
10 | PGCIL | Deeemed Licensee | 400 kV | SLR for Ballia (Biharshariff IV) at Sasaram | 50 | 01.04.12
11 | PGCIL | Deeemed Licensee | 400 kV | Sasaram Bus Reactor I | 125 | 01.04.12
12 | PGCIL | Deeemed Licensee | 765 kV | Gaya Bus Reactor I | 240 | 01.04.12
13 | PGCIL | Deeemed Licensee | 765 kV | SLR for Fatehpur at Gaya | 240 | 01.04.12
14 | PGCIL | Deeemed Licensee | 765 kV | SLR for Gaya at Fatehpur | 330 | 01.04.12
15 | PGCIL | Deeemed Licensee | 765 kV | Fatehpur Bus Reactor | 330 | 01.04.12
16 | PGCIL | Deeemed Licensee | 400 kV | Jallandhar Bus Reactor | 125 | 01.04.12
17 | PGCIL | Deeemed Licensee | 400 kV | Amritsar Bus Reactor | 80 | 01.04.12
18 | PGCIL | Deeemed Licensee | 400 kV | Neemrana Bus Reactor | 80 | 01.04.12
19 | PGCIL | Deeemed Licensee | 765 kV | Ballia Bus Reactor | 240 | 01.04.12
20 | PGCIL | Deeemed Licensee | 400 kV | Nallagarh Bus Reactor II | 125 | 01.05.12
21 | PGCIL | Deeemed Licensee | 400 kV | Hissar Bus Reactor II | 125 | 01.05.12
22 | PGCIL | Deeemed Licensee | 765 kV | Moga Bus Reactor I | 240 | 01.06.12
23 | PGCIL | Deeemed Licensee | 765 kV | Moga Bus Reactor II | 240 | 01.06.12
24 | PGCIL | Deeemed Licensee | 765 kV | Bhiwani Bus Reactor I | 240 | 01.06.12
25 | PGCIL | Deeemed Licensee | 765 kV | SLR for Bhiwani at Moga | 240 | 01.06.12
26 | PGCIL | Deeemed Licensee | 400 kV | Rajgarh Bus Reactor | 125 | 01.06.12
27 | PGCIL | Deeemed Licensee | 400 kV | Pallakad Bus Reactor | 63 | 01.06.12
28 | PGCIL | Deeemed Licensee | 400 kV | Bidadi Bus Reactor | 63 | 01.06.12
29 | PGCIL | Deeemed Licensee | 400 kV | LR for Thirunelveli II at Kochi | 63 | 01.06.12
30 | PGCIL | Deeemed Licensee | 400 kV | Sasaram Bus Reactor I | 125 | 01.06.12
31 | PGCIL | Deeemed Licensee | 765 kV | Gaya Bus Reactor I | 240 | 01.06.12
32 | PGCIL | Deeemed Licensee | 400 kV | Ballia Bus Reactor III | 125 | 01.06.12
33 | PGCIL | Deeemed Licensee | 400 kV | Agra Bus Reactor II | 125 | 01.06.12
34 | PGCIL | Deeemed Licensee | 400 kV | Agra Bus Reactor III | 125 | 01.06.12
35 | PGCIL | Deeemed Licensee | 400 kV | LR for Agra at Jaipur South | 50 | 01.06.12
36 | PGCIL | Deeemed Licensee | 765 kV | Lucknow Bus Reactor | 240 | 01.06.12
37 | PGCIL | Deeemed Licensee | 765 kV | SLR for Agra at Fatehpur | 330 | 01.06.12
38 | PGCIL | Deeemed Licensee | 765 kV | LR for Fatehpur at Agra | 240 | 01.06.12
39 | PGCIL | Deeemed Licensee | 765 kV | LR for Seoni I at Wardha | 240 | 01.06.12
40 | PGCIL | Deeemed Licensee | 400 kV | Kishenpur Bus Reactor | 80 | 01.06.12
41 | PGCIL | Deeemed Licensee | 765 kV | SLR for Bina at Seoni | 240 | 01.07.12
42 | PGCIL | Deeemed Licensee | 765 kV | Satna Bus Reactor | 240 | 01.07.12
43 | PGCIL | Deeemed Licensee | 765 kV | SLR for Bina II at Satna | 240 | 01.07.12
44 | PGCIL | Deeemed Licensee | 765 kV | LR for Seoni I at Bina | 240 | 01.07.12
45 | PGCIL | Deeemed Licensee | 765 kV | LR for Satna II at Bina | 240 | 01.07.12
46 | PGCIL | Deeemed Licensee | 400 kV | Silchar Bus Reactor II | 63 | 01.07.12
47 | PGCIL | Deeemed Licensee | 400 kV | Silchar Bus Reactor I | 63 | 01.07.12
48 | PGCIL | Deeemed Licensee | 400 kV | SLR for Palatana I at Silchar | 50 | 01.07.12
49 | PGCIL | Deeemed Licensee | 400 kV | SLR for Palatana II at Silchar | 50 | 01.07.12
50 | PGCIL | Deeemed Licensee | 400 kV | LR for Ballia II at Sohawal | 50 | 01.07.12
51 | PGCIL | Deeemed Licensee | 765 kV | Bhiwani Bus Reactor II | 240 | 01.07.12
52 | PGCIL | Deeemed Licensee | 400 kV | Navsari Bus Reactor | 63 | 01.08.12
PART:D Details of Stand by/(Spare)Transformers & Reactors under commercial operation (DOCO) during 01.04.12 to 01.08.12
Sl.No | ISIS Licensee | Owner Category | Voltage | Name of transformer / reactor | Asset Capacity | D.O.C.O / Comm.
1 | PGCIL | Deeemed Licensee | 400 kV | Pune ICT | 315 MVA | 01.07.12
2 | PGCIL | Deeemed Licensee | 400 kV | Raipur ICT | 315 MVA | 01.07.12
3 | PGCIL | Deeemed Licensee | 400 kV | Biharshariff ICT | 315 MVA | 01.07.12
4 | PGCIL | Deeemed Licensee | 400 kV | Jamshedpur ICT | 315 MVA | 01.07.12
5 | PGCIL | Deeemed Licensee | 400 kV | Lucknow ICT | 315 MVA | 01.07.12
6 | PGCIL | Deeemed Licensee | 400 kV | Wardha Shunt Reactor | 80 MVAR | 01.08.12