## updated doco Aug 12 to Nov-12
POWER GRID CORPORATION OF INDIA LIMITED
Corporate Commercial Department
Corporate Office, “Saudamini” Plot No.-2
Gurgaon-122001,Haryana
Details of ISTS commissioned and under commercial operation (DOCO) during 01.09.12 to 01.12.12
Sl.No. | ISIS Licensee | Owner Category | Description of Assets | D.O.C.O / Comm.
1 | PGCIL | Deeemed Licensee | LILO of second Ckt of 400 KV D/C Agra- Bassi TL with 50 MVAR Line Reactor at Jaipur (South) alongwith associated bays under Northern Region Transmission Strengthening Scheme( NRTSS) | 01.09.12
2 | PGCIL | Deeemed Licensee | 765/400 KV , 1500 MVA ICT-II alongwith associated bays at 765/400 KV Agra(Augmentation) S/s under common scheme for 765 KV Pooling Stations and Network in NR and WR | 01.09.12
3 | PGCIL | Deeemed Licensee | 400 KV D/C Gurgaon - Manesar TL alongwith associated bays under Northern Region Strengthening Scheme XIII(NRSS - XIII) | 01.09.12
4 | PGCIL | Deeemed Licensee | 400 KV 80 MVAR Bus Reactor alongwith associated bays at 400/220 KV Sikar S/S under Strengthening Scheme in Northern Region for Sasan Mundra UMPP | 01.09.12
5 | PGCIL | Deeemed Licensee | 765/400 KV , 1500 MVA (3 X 500) ICT-I along with 765 and 400 KV Bays at Moga S/S | 01.09.12
6 | PGCIL | Deeemed Licensee | 400 KV D/C Surajbari - Jetpur part of 400 KV D/C Mundra- Jetpur TL along with associated bays at Jetpur(GETCO) S/S under Mundra UMPP | 01.09.12
7 | PGCIL | Deeemed Licensee | 400/220 KV , two nos of 315 MVA spare 400/220 KV transformers at 400 KV Jabalpur S/S and 400 KV Dehgam S/S uder provision for spare ICTs for WR | 01.09.12
8 | PGCIL | Deeemed Licensee | 3*333 MVA 765/400 KV Transformer-II alongwith associated bays at 765/400 KV Satna S/S under Sasan UMPP | 01.09.12
9 | PGCIL | Deeemed Licensee | 1 x 315 MVA 400/220 KV ICT-I alongwith associated 400 KV and 220 KV bays at Navsari under Mundra Regional Transmission System | 01.09.12
10 | PGCIL | Deeemed Licensee | 3*333 MVA 765/400 KV Transformer-I alongwith associated bays at 765/400 KV Bina S/S under Sasan UMPP | 01.09.12
11 | PGCIL | Deeemed Licensee | LILO of 400 KV S/C Meeramundali - Jeypore T/L at Bolangir & associated bays at Bolangir alongwith 2 nos 50 MVAR Shunt Reactors, 01 no 315 MVA ICT(ICT-II) & associated bays and two nos 220 KV line bays ( Line-I & II) under ERSS - III | 01.09.12
12 | PGCIL | Deeemed Licensee | Kalpakkam - Kancheepuram 230 KV D/C TL alongwith associated bays & eqipment under Kalpakkam- PFBR associated transmission system | 01.09.12
13 | PGCIL | Deeemed Licensee | LILO of circuit-I of Udumalpet - Trichur 400KV D/C Line at Palakkad (Chulliar) s/s along with associated bays & Equipment under SS-XI | 01.09.12
14 | NETCL | Licensee | 400 KV D/C Palatana - Silchar Transmission Line | 01.09.12
15 | PGCIL | Deeemed Licensee | 765/400 KV ICT-II at Bhiwani along with associated 765/400 KV Bays | 01.10.12
16 | PGCIL | Deeemed Licensee | 765 KV Bays for Jattikalan - Bhiwani Transmission Line | 01.10.12
17 | PGCIL | Deeemed Licensee | 765 KV S/C Jattikalan - Bhiwani Line | 01.10.12
18 | PGCIL | Deeemed Licensee | LILO of One Ckt of 400 KV D/C Bareilly- mandola TL at Meerut S/S alongwith associated bays under 765 KV System for Central part of Northern Grid Part - III | 01.10.12
19 | PGCIL | Deeemed Licensee | 765 KV 240 MVAr Bus reactor-I at 765/400 KV Ballia S/S and one no 765 KV Line bay for 765 KV Gaya - Ballia Line alongwith 765 KV 240 MVAR Switchable Line Reactorunder Bus Reactor Operation mode alongwith associated bays under Common Scheme for 765 KV Pooling stations and Network in NR & WR | 01.10.12
20 | PGCIL | Deeemed Licensee | 765/400 KV 1500 MVA ICT-I,765/400 KV 1500 MVA ICT-II,765/400 KV 1500 MVA ICT-III,765/400 KV 1500 MVA ICT-IV,765 KV 240 MVAR Bus Reactor and one no. 765 KV Line bay for 765 KV Agra- Jattikalan Line including 765 KV 240 MVAR Switchable Line Reactor under Bus Reactor operation mode alongwith associated bays at 765/400 KV Jhatikara (New) S/S under 765 KV System for Central part of Northern Grid Part - II | 01.10.12
21 | PGCIL | Deeemed Licensee | LILO of Both Ckts of 400 KV D/C Mundka/ Bawana - Bamnauli Line at Jhatikara under 765 KV System for Central part of Northern Grid Part - I and associated line bays at 765/400 KV Jhatikara(New) S/S under 765 KV System for Central part of Northern Grid Part - II | 01.10.12
22 | PGCIL | Deeemed Licensee | 400 KV 125 MVAR Bus Reactor at 400/220 KV Manesar GIS S/S under Northern Region Strengthening Scheme XIII(NRSS - XIII) | 01.10.12
23 | PGCIL | Deeemed Licensee | Upgradation of 765 KV Satna- Bina Ckt-I TL (From 400 KV to 765 KV ) | 01.10.12
24 | PGCIL | Deeemed Licensee | 1 no. 80 MVAR , 420 KV , 3 Ph Spare shunt Reactor at Rourkela | 01.10.12
25 | PGCIL | Deeemed Licensee | 1 no. 80 MVAR , 420 KV , 3 Ph Bus Reactor & associated bays at Bolangir under ERSS- III | 01.10.12
26 | PGCIL | Deeemed Licensee | 1 x 80 MVAR , 420 KV, 3-ph Bus Reactor at 400 KV Balipara S/S associated with North East - Northern/ Western Interconnector - I and Kameng Hydro Electric Project | 01.10.12
27 | PGCIL | Deeemed Licensee | 02 No 50 MVAR Bus Reactor alongwith associated bays at Gaya S/s under "Common scheme for 765 KV pooling stations and network for NR " and Common scheme for network for WR. | 01.10.12
28 | PGCIL | Deeemed Licensee | 1. One no. 765kV Line Bays for 765kV Sasaram-Fatehpur Line -II alongwith 765kV, 330MVAR Non-switchable Line Reactor under Bus Reactor operation mode at 765/400kV Fatehpur SS under Transmision System for SASAN UMPP in Northern Region | 01.11.2012
29 | PGCIL | Deeemed Licensee | 2. One no. 765kV Line Bays for 765kV Fatehpur -Agra Line -II alongwith 765kV 330kV MVAR Non-switchable Line Reactor under Bus Reactor Operation mode at 765/400kV Fatehpur SS under Tr. System for SASAN UMPP in Northern Region | 01.11.2012
30 | PGCIL | Deeemed Licensee | 3. 400kV, 125MVAR Bus Reactor alongwith associated bays at 400/200kV Allahabad SS under "Provision of Bus Reactor in Northern Region" scheme | 01.11.2012
31 | PGCIL | Deeemed Licensee | 4. 400kV, 125MVAR Bus Reactor alongwith associated bays at 400/200kV Kankroli SS under "Provision of Bus Reactor in Northern Region" scheme | 01.11.2012
32 | PGCIL | Deeemed Licensee | 765 KV, 240 MVAR (3 X80 MVAR) Line Reactor alongwith associated bay at Bhiwani S/S to be used as Bus Reactor Under 765 KV System for Central Part of Northern Grid Part - III | 01.11.2012
33 | PGCIL | Deeemed Licensee | 240 MVAR Switchable Line Reactor(SLR) on 765 KV Ranchi - Sipat S/C Line at Bilaspur S/S under "Common scheme for 765 KV pooling stations and network for NR " and Common scheme for network for WR. | 01.11.2012
34 | PGCIL | Deeemed Licensee | Ckt- 1 of 400 KV D/C Gandhar - Navsari T/L along with associated bays at Gandhar and Navsari end under Mundra UMPP | 01.11.2012
35 | PGCIL | Deeemed Licensee | 01 No315 MVA ICT(ICT-I) & associated bays and 2 nos 220 KV Line bays (Line-III & IV) at Bolangir S/S under ERSS- III | 01.11.2012
36 | PGCIL | Deeemed Licensee | 1x80MVAR, 420kV, 3Ph Bus Reactor at 400kV Bougaigaon SS against Transmission System associted with Pallatana GBPP and Bongaingoan TPS | 01.11.2012
37 | PGCIL | Deeemed Licensee | 1no. 400kV Bay of Silchar -Bongaigaon (NETC) TL alongwith 1no. 63 MVARSwitchable Line Reactor at 400kV Sichar Substation against Transmision System associated with Pallatana GBPP and Bongaingoan TPS | 01.11.2012
38 | PGCIL | Deeemed Licensee | 1) 400/220kV Ballabhgarh Substation Extension – Realignment work for shifting of Maharanibagh and Greater Noida line in a single diameter at 400/220kV Ballabhgarh Substation under “765kV System for Central Part of Northern Grid-Part-III” | 01.12.2012
39 | PGCIL | Deeemed Licensee | 2) 400/220kV 500MVA ICT-II at Jaipur (South) alongwith associated bays under Northern Regional Transmission strengthening Scheme (NRTSS) | 01.12.2012
40 | PGCIL | Deeemed Licensee | 3) 765kV, 3x80MVAR Bus Reactor-II alongwith associated bays at Agra Substation under “Transmission System for SASAN UMPP in Northern Region | 01.12.2012
41 | PGCIL | Deeemed Licensee | 400/220 KV , 315 MVA ICT-I alongwith associated 400/220 KV Bays plus 4 nos of 220 KV Line bays at Bhiwani S/S Under 765 KV System for Central Part of Northern Grid Part - III | 01.12.2012
42 | PGCIL | Deeemed Licensee | 400/220 KV , 315 MVA ICT-II alongwith associated 400/220 KV Bays plus 4 nos of 220 KV Line bays at Bhiwani S/S Under 765 KV System for Central Part of Northern Grid Part - III | 01.12.2012
43 | PGCIL | Deeemed Licensee | Lilo of Barh- Balia 400 KV D/C Tr Line at Patna 400 KV S/S alongwith associated bays under "Common scheme for 765 KV pooling stations and network for NR " and Common scheme for network for WR. | 01.12.2012
44 | PGCIL | Deeemed Licensee | Lilo of Kahalgaon - Biharsharif 400 KV D/C (2nd line) at Banka alongwith associated bays under ERSS-III | 01.12.2012
45 | PGCIL | Deeemed Licensee | 400/132 kv 200 MVA ICT-1 at Banka S/s alongwith associated 400 kv & 132 kv bays under ERSS-III | 01.12.2012
46 | PGCIL | Deeemed Licensee | 2 nos 132 kv line bays at Banka S/s under ERSS-III | 01.12.2012
47 | PGCIL | Deeemed Licensee | 1no. 400kV Bay # 1 of Silchar -Bongaigaon (NETC) TL alongwith 1no. 63 MVAR Switchable Line Reactor at 400kV Sichar Substation against Transmision System associated with Pallatana GBPP and Bongaingoan TPS | 01.12.2012