## doco 01.05.13 to 01.06.13
POWER GRID CORPORATION OF INDIA LIMITED
Corporate Commercial Department
Corporate Office,“Saudamini” Plot No.-2
Gurgaon-122001,Haryana
Details of ISTS commissioned and under commercial operation (DOCO) during 01.07.13 to 01.09.13
Sl.No. | ISIS Licensee | Owner Category | Description of Assets | D.O.C.O / Comm.
1 | PGCIL | Deeemed Licensee | 1no. 500MVA, 400/220kV Transformer alongwith asscoiated bays at Moga SS under Augmentation of Transformation Capacity in Northern Region - Part A | 01.07.2013
2 | PGCIL | Deeemed Licensee | 765 KV S/C Bina- Indore transmissionLine along with associated bays at both end( charged at 765 KV level), including 765/400 KV Indore (New) S/s under Regional System Strengthening for SASAN UMPP | 01.07.2013
3 | PGCIL | Deeemed Licensee | 400 kv (Quad) Indore(PG) - Indore(MPPTCL) line along with associated bays at both ends under Regional System Strengthening for SASAN UMPP | 01.07.2013
4 | PGCIL | Deeemed Licensee | 765/400 KV ,3x500 MVA ICT-II at 765/400 KV Indore(New) S/s along with associated bays under Regional System Strengthening for SASAN UMPP | 01.07.2013
5 | PGCIL | Deeemed Licensee | 400kV D/C Parbati - Amritsar T/L along with associated bays at both ends under Transmission System associated with Parbati-III HEP | 01.08.2013
6 | PGCIL | Deeemed Licensee | LILO of 2nd Ckt of Parbati-II-Koldam TL at Pooling Station alongwith associated bays and LILO at Parbati-III under Transmission System associated with Parbati-III HEP | 01.08.2013
7 | PGCIL | Deeemed Licensee | 400kV, 80MVAR Bus Reactor at Parbati Pooling Station alongwith asscoiated bays under Transmission System associated with Parbati-III HEP | 01.08.2013
8 | PGCIL | Deeemed Licensee | Second Bank of 765/400 KV, 1500(3x500) MVA Inter connecting Trnsformer under Transmission System associated with IPPs Generation in Chattisgarh (Set-A) | 01.08.2013
9 | PGCIL | Deeemed Licensee | 765 KV, 240(3x80)MVAR Shunt Reactor of Raipur-I line Bay as Bus Reactor under Transmission System associated with IPPs Generation in Chattisgarh (Set-A) | 01.08.2013
10 | PGCIL | Deeemed Licensee | 400 KV, 80 MVAR Bus Reactor at Raigarh Pooling Station(Kotra) under Transmission System associated with IPPs Generation in Chattisgarh (Set-A) | 01.08.2013
11 | PGCIL | Deeemed Licensee | 125 MVAR , 400 KV, Bus Reactor at Patna S/s along with associated bay under Transmission System for Transfer of Power from generation projects in Sikkim to NR/WR- Part-B | 01.08.2013
12 | PGCIL | Deeemed Licensee | Two nos 400 KV Line bays for 400 KV D/C Agra- Sikar Line including two nos 50 MVAR Line Reactors under Bus Reactor operation mode at 400/220 KV Sikar S/S under System Strengthening in Northern Region for Sasan and Mundra UMPP | 01.08.2013
13 | PGCIL | Deeemed Licensee | Both Circuits of 400 KV Thermal Powertech- Nellore Pooling Station line along with bays and equipments at Nellore PS | 01.09.2013
14 | PGCIL | Deeemed Licensee | Loop- out line of 132 KV Imphal - Ningthoukhong Transmission Line along with 01(one) No. of associated bay at 132 KV Imphal Substation against Transmission System associated with Palatana GBPP and Bongaigaon TPS | 01.09.2013
15 | PGCIL | Deeemed Licensee | 400 kv D/c Baharampur- Bheramara Tr. Line (India Portion) , LILO of 400 KV S/C Farakka- Jeerat Tr. Line at Baharampur, 1 No. 80 MVAR Bus Reactor and associated line bays and Reactor bay at 400 KV Baharampur S/S (W. Bengal) under Interconnection between electrical Grids of India & Bangladesh(India Portion) | 01.09.2013
16 | PGCIL | Deeemed Licensee | 1 No. spare 160MVA 220/132 KV ICT at Purnea S/s | 01.09.2013