## Sheet1
ANNEXURE-A
POWER GRID CORPORATION OF INDIA LIMITED
Corporate Commercial Department
Corporate Office,
“Saudamini” Plot No.-2
Gurgaon-122001,Haryana
Details of ISTS commissioned and under commercial operation (DOCO) during 01.04.14 to 30.06.14
Sl.No. | ISTS Licensee | Owner Category | Description of Assets | D.O.C.O
1 | PKTCL | Private Licensee | LILO Point of Parbati-III HEP to LILO of Parbati Pooling Station of 400 kV Quad S/C Parbati-II HEP to Koldam Lines (Ckt-III) | 01.08.2013
2 | APCPL | Private Licensee | 400 kV D/C Jhajjar-Mundaka Transmission Line | 07.11.2013
3 | PGCIL | Deeemed Licensee | Special Protection System for Northern Regional Grid, Stage- II | 01.04.2014
4 | PGCIL | Deeemed Licensee | 847.124 Kms of Fibre Optic Communication System in Lieu of Existing ULDC Microwave Links in Northern Region | 01.04.2014
5 | PGCIL | Deeemed Licensee | LILO of 400 kV D/C Teesta-V-Siliguri line(Ckt-I) at Rangpo and associated bays alongwith 1 no. 400 kV Bus Coupler bay at Rangpo | 24.04.2014
6 | PGCIL | Deeemed Licensee | 1 no. 3x 105 MVA Single Phase, 400/220 kV Transformer (1st )and associated bays at Rangpo. | 24.04.2014
7 | PGCIL | Deeemed Licensee | 1 no. 100 MVA , 220/132 kV Transformer (1st ) and associated bays alongwith 1 no. 132 kV Bus Coupler bay and 1 no. 132 kV bus sectionaliser bay at Rangpo. | 24.04.2014
8 | PGCIL | Deeemed Licensee | Termination of 132 kV Gangtok- Rangpo/Chujachen & Melli-Rangpo/Chujachen line at Rangpo and associated bays at Rangpo. | 24.04.2014
9 | PGCIL | Deeemed Licensee | Nellore-Thiruvalam 400 kV D/C Quad Line along with associated bays and equipments. | 16.04.2014
10 | PGCIL | Deeemed Licensee | OPGW Communication Links alongwith associated Communication equipments: 1) LILO of Bangalore - Salem to Hosur (25.52 Kms) 2) LILO of Madurai-Trichy to Karaikudi(48.87 Kms) 3) Tirunalveli-Kudankulam (72.71 Kms) 4) Chittoor-Tiruvalam (21.02 Kms) 5) LILO of Kolar-Sriperambadur to Tiruvalam (12.07 Kms) 6) Sriperambadur-Chittoor LILO(95.82 Kms) | 01.04.2014
11 | PGCIL | Deeemed Licensee | Second Bank of 765kV, 330MVAr Bus Reactor along with associated bays at Dharamjaygarh / Near Korba (WR) Sub-station | 18.04.2014
12 | PGCIL | Deeemed Licensee | 1. 220 kV Samaguri (AEGCL)-Mariani(AEGCL)-169.717 Kms 3. 220 kV Namrup (AEGCL)-Tinsukia (AEGCL) - 43.572 Kms . 4. 132 kV Badarpur (PG) - Badarpur (Panchgram-AEGCL) - 1.023 Kms. 5. 132 kV Badarpur (Panchgram-AEGCL) - Srikona(AEGCL) - 19.586 Kms. 6. 132 kV Balipara (PG) - Gohpur(AEGCL) - 101.124 Kms. | 01.04.2014
13 | PGCIL | Deeemed Licensee | 400 kV 125 MVAR Bus Reactor at 400/220 kV Gorakhpur Substation along with associated bays. | 26.05.2014
14 | PGCIL | Deeemed Licensee | 765 kV 3*80 MVAR Switchable Line Reactor for 765kV Seoni- Wardha Ckt-I at 765/400 kV Seoni S/s along with associated bays. | 02.05.2014
15 | PGCIL | Deeemed Licensee | i) 765 kV, Dhule bay (Bay No.704) with associated line equipments. | 29.05.2014
16 | PGCIL | Deeemed Licensee | 400 kV Neyveli-Trichy D/C line at Nagapattinam Pooling Station | 03.05.2014
17 | PGCIL | Deeemed Licensee | 1. Champa Pooling Station - Dharamjaygarh / near Korba Switching Station 765 kV S/C Line 2. Champa Pooling Station - Raipur Pooling Station 765 kV D/C Line 3. Bay Extension, one bay each at 765 kV RAIPUR POOLING Station with line shunt Reactor and at 765 kV Dharamjaygarh Pooling Station. | 24.05.2014
18 | PGCIL | Deeemed Licensee | 1. Bay Extension, at 765 kV Raipur Pooling Station with shunt Reactor for 765 kV Champa-1 Line Bay - charges as Bus Reactor | 26.05.2014
19 | PGCIL | Deeemed Licensee | * 1 no 100 MVA, 220/132 kV transformer (2nd) and associated bays along with 1 no 132 kV Bus coupler bays and 1 no 132 kV bus sectionaliser bay at Rangpo | 22.05.2014
20 | PGCIL | Deeemed Licensee | * 1 no 80 MVAR bus reactor (1st) and associated bay at Rangpo | 22.05.2014
21 | PGCIL | Deeemed Licensee | * 1 no 3x105 MVA single phase, 400/220 kV (2nd) transformer (ICT no-5) and associated bays at Rangpo | 22.05.2014
22 | PGCIL | Deeemed Licensee | 1 No. 3x80 MVAR 765 kV Bus Reactor alongwith associated bays at 765 / 400 kV Ranchi S/s | 01.06.2014
23 | PGCIL | Deeemed Licensee | 1 No. 400 / 132 kV, 200 MVA Transformer (2nd) alongwith associated bays at 400 / 132 kV Lakhisarai S/s | 01.06.2014
24 | PGCIL | Deeemed Licensee | 1 No. 80 MVAR Bus Reactor (2nd) and associated bays at Rangpo | 09.06.2014
25 | PGCIL | Deeemed Licensee | 1 No. 3x105 MVA Single Phase, (3rd ) 400/220 kV Transformer (ICT No-3) and associated bays at Rangpo. | 09.06.2014
26 | PGCIL | Deeemed Licensee | 1 No. 100 MVA, 220/132 kV Transformer (3rd) and associated bays at Rangpo | 13.06.2014
27 | PGCIL | Deeemed Licensee | 1 no. 3x105 MVA Single Phase, (4th) 400/220 kV Transformer (ICT No. 2) and associated bays at Rangpo | 30.06.2014
28 | PGCIL | Deeemed Licensee | LILO of Ckt II of 400 kV D/C Lucknow-Bareilly TL at 400/220 kV Shahjahanpur Substation under NRTSS | 13.06.2014
29 | PGCIL | Deeemed Licensee | "500 MVA ICT-I at Sahajahanpur Sub station" under NRTSS | 15.06.2014
30 | PGCIL | Deeemed Licensee | 400/220 Kv, 125 MVAR Bus Reactor along with associated bays at New Wanpoh S/s | 16.06.2014
31 | PGCIL | Deeemed Licensee | 765 /400 kV, 1500 MVA, ICT-2 at Dharamjaygarh SS along with associated bays | 19.06.2014
32 | PGCIL | Deeemed Licensee | Splitting of 400 kV Raipur bus through bus Sectionaliser into two sections at a point between existing line bays of Chandrapur-1 & Chandrapur-2 and Shifting of Chandrapur-2 and Chandrapur-3 line bays from Section Raipur-B to Raipur-A | 26.06.2014
33 | PGCIL | Deeemed Licensee | Kurnool-Raichur 2nd 765 kV S/C Line along with associated bays and equipments at Kurnool and Raichur Substations | 21.06.2014
1 | ENICL | Private Licensee | Ckt-I of Purnea - Biharshariff 400 KV D/C TL | 13.09.13
2 | ENICL | Private Licensee | Ckt-II of Purnea - Biharshariff 400 KV D/C TL | 16.09.13
3 | WRTM | Private Licensee | 400 KV D/C Parli - Pune Transmission Line under WRSS - II, Project B | 01.12.13
4 | WRTM | Private Licensee | 400 KV D/C Pune- Aurangabad Transmision Line under WRSS -II , Project B | 01.01.14