## DOCO 01.01.2018 to 31.03.2019
POWER GRID CORPORATION OF INDIA LIMITED
Corporate Commercial Department
Corporate Office, “Saudamini” Plot No.-2
Sector-29, Near IFFCO Chowk, Gurgaon-122001,Haryana
Annexure-3
Details of ISTS commissioned and under commercial operation (DOCO) during 01.01.2018 to 31.03.2019
Sl.No. | ISTS Licensee | Owner Category | Description of Assets | DOCO/ Deemed COD
1 | POWERGRID | Deemed Licensee | Spare 1 no unit of 765Kv, 110 MVAR Single Phase Reactor to be stationed at Sasaram | 2018-03-29
2 | POWERGRID | Deemed Licensee | Modification of 132kV Bus arrangement at 220/132kV Purnea substation with GIS bays | 2018-03-12
3 | POWERGRID | Deemed Licensee | Installation of 3rd 500 MVA, 400/220kV ICT at Patna (POWERGRID) substation along- with associated bays | 2018-02-14
4 | POWERGRID | Deemed Licensee | Installation of 1x125 MVAR Bus Reactor by replacing existing 1x50 MVAR Bus Reactor at 400kV Rourkela Substation. | 2018-01-07
5 | POWERGRID | Deemed Licensee | 400 kV D/C Sasaram–Daltonganj transmission line along-with associated bays at Sasaram & Daltonganj substation. | 2018-03-31
6 | POWERGRID | Deemed Licensee | 400/220 kV,315 MVA ICT I at Daltonganj substation and associated bays | 2018-03-31
7 | POWERGRID | Deemed Licensee | 400kV,80 MVAR Bus Reactor at Daltonganj substation and associated bay | 2018-03-31
8 | POWERGRID | Deemed Licensee | 220/132 kV,160 MVA ICT I at Daltonganj substation and associated bays | 2018-03-31
9 | POWERGRID | Deemed Licensee | 220/132 kV,160 MVA ICT II at Daltonganj substation and associated bays | 2018-03-31
10 | POWERGRID | Deemed Licensee | 2 nos 132 kV line bays at Daltonganj substation for Daltonganj(PG)- Daltonganj(JUSNL) line | 2018-03-31
11 | POWERGRID | Deemed Licensee | Coversion of 50 MVAR fixed line reactor at Subhasgram end of Sagardighi-Subhasgram 400kV S/C line to switchable line reactor | 2018-03-08
12 | POWERGRID | Deemed Licensee | 1 no 125 MVAR Bus Reactor and 1 no 400kV line bay at Baharampur | 2018-03-30
13 | POWERGRID | Deemed Licensee | LILO of both Circuit of 400kV D/C (2nd line) Rourkela-Raigarh at Jharsuguda(Sundargarh) Substation and 4 nos 400kV GIS line bays for termination of LILO of both circuits of 400kV (2nd line) Rourkela-Raigarh at Jharsuguda(Sundargarh) Substation | 2018-01-07
14 | POWERGRID | Deemed Licensee | (b) Integration of RTUs to Main Control Centre & RTU for BSTPCL - 10 nos | 2017-09-19
15 | POWERGRID | Deemed Licensee | 400 kV D/C(Quad) Nabinagar II – Gaya Transmission line along with 2nos associated bays at Gaya substations | 2018-05-12
16 | POWERGRID | Deemed Licensee | Installation of 1x125 MVAR Bus Reactor along-with GIS bays at Baripada Substation | 2018-06-30
17 | POWERGRID | Deemed Licensee | Installation of (+/-) 300 MVAR STATCOM along-with 2x125 MVAR Mechanically switched Reactor (MSR) at 400kV Rourkela Substation | 2018-03-30
18 | POWERGRID | Deemed Licensee | 400kV, 50 MVAR Line Reactor-I for 400kV Sasaram–Daltonganj transmission line-I at Daltonganj substation | 2018-09-29
19 | POWERGRID | Deemed Licensee | Installation of (+/-) 300MVAR STATCOM along-with 2x 125 MVAR Mechanically switched Reactor at Rourkela Substation | 2018-03-30
20 | POWERGRID | Deemed Licensee | Installation of (+/-) 200MVAR STATCOM along-with 2x 125 MVAR Mechanically switched Reactor & 2X125 MVAR Mechanically switched Capacitor Jeypore Substation | 2018-07-01
21 | POWERGRID | Deemed Licensee | STATCOM System (+/-) 300MVAR complete in all respect including Coupling transformer, Mechanically switched compensation (2x125 MVAR reactor), cooling system & STATCOM protection / controller etc at Ranchi(New)Substation | 2018-07-16
22 | POWERGRID | Deemed Licensee | 1no 500 MVA Single Phase Spare unit of 765/400kV ICT for Eastern Region to be stationed at Jharsuguda Sub-station | 2018-09-30
23 | POWERGRID | Deemed Licensee | Installation of 400kV 125 MVAR Bus Reactor II along-with bay at Chaibasa Substation | 2018-07-28
24 | POWERGRID | Deemed Licensee | Installation of 400kV 125 MVAR Bus Reactor II along-with bay at Durgapur Substation | 2018-08-02
25 | POWERGRID | Deemed Licensee | Installation of 400kV, 125 MVAR Bus Reactor II at Banka Substation along-with associated bays | 2018-09-29
26 | POWERGRID | Deemed Licensee | Installation of 400kV 125 MVAR Bus Reactor II along-with bay at Bolangir Substation | 2018-09-30
27 | POWERGRID | Deemed Licensee | LILO of 400kV S/C Farakka-Jeerat line at Sagardighi and 2nos 400kV line bays Sagardighi Substation | 2018-08-07
28 | POWERGRID | Deemed Licensee | 400kV Farakka-Baharampur line and 2nos 400kV line bays at Farakka and 1no 400kV line bay at Baharampur Substation | 2018-09-03
29 | POWERGRID | Deemed Licensee | 2nos 220kV line bays at Alipurdwar Substation | 2018-03-01
30 | POWERGRID | Deemed Licensee | 400kV D/C Punatsangchu-Alipurdwar line(India Portion) and associated 2 nos 400kV line bays at Alipurdwar Substation | 2018-03-29
31 | POWERGRID | Deemed Licensee | Installation of 400kV, 125 MVAR Bus Reactor II at Lakhisarai Substation along-with associated bays | 2018-11-05
32 | POWERGRID | Deemed Licensee | Installation of 400kV, 1x125 MVAR Bus Reactor alongwith bay at Keonjhar Substation | 2018-11-01
33 | POWERGRID | Deemed Licensee | 2nos of 400kV 80 MVAR Switchable line reactors (Charged as Bus Reactors) along-with associated bays at 400kV Purnea Substation for Rajarhat-Purnea 400kV D/C line(with triple snowbird conductor) with LILO of one circuit at Gokarna(WBSETCL) and one circuit at Farakka(NTPC) | 2018-11-01
34 | POWERGRID | Deemed Licensee | 400/220 kV,315 MVA ICT II at Daltonganj substation and associated bays | 2018-11-05
35 | POWERGRID | Deemed Licensee | Angul-Jharsuguda 765kV D/C line | 2018-12-01
36 | POWERGRID | Deemed Licensee | Extension of 765/400kV Angul Substation | 2018-12-01
37 | POWERGRID | Deemed Licensee | Extension of 765/400kV Jharsuguda Substation | 2018-12-01
38 | POWERGRID | Deemed Licensee | 240 MVAR Line Reactors along-with 800 ohm NGR at each end of both the circuits of Angul-Jharsuguda 765kV D/C line(Switchable Line reactor at Angul end | 2018-12-01
39 | POWERGRID | Deemed Licensee | STATCOM System (+/-) 200MVAR complete in all respect including Coupling transformer, Mechanically switched compensation (2x125 MVAR reactor), cooling system & STATCOM protection / controller etc at Kishanganj Substation | 2019-03-16
40 | POWERGRID | Deemed Licensee | 400/220 kV 500 MVA ICT III along-with 400kV AIS bay & 220kV GIS bay at Gaya S/s | 2019-02-09
41 | POWERGRID | Deemed Licensee | 400 kV Transmission Line for reconfiguration of Biharsharif Ckt III & IV # from its present position to Stage II side of Kahalgaon Switchyard of NTPC | 2019-01-26
42 | POWERGRID | Deemed Licensee | 1 no. 125 MVAR Bus Reactor (1st) and associated bay at Rajarhat | 2019-03-24
43 | POWERGRID | Deemed Licensee | 1 no. 125 MVAR Bus Reactor (2nd) and associated bay at Rajarhat | 2019-03-31
44 | POWERGRID | Deemed Licensee | DSTPS-RTPS OPGW link along-with 1 no SDH equipment at DSTPS and 1 no DCPS each at DSTPS & RTPS -69.182 km | 2019-02-01
45 | POWERGRID | Deemed Licensee | LILO of 400 KV S/C Subhasgram-Jeerat line at Rajahat and associated bays at Rajahat, 1 No. 400/220 KV , 500 MVA ICT-I and associated bays at Rajahat alongwith 4 nos. 220 KV line bays at Rajahat | 2019-02-03
46 | POWERGRID | Deemed Licensee | Provision of Circuit Breakers for making line reactors at Biharsharif substation switchable | 2019-03-14
47 | POWERGRID | Deemed Licensee | Replacement of existing 315 MVA, 400/220 kV ICT II with 500 MVA, 400/220 kV ICT II at Patna Sub-station | 2019-02-17
48 | POWERGRID | Deemed Licensee | 3 X 5MVA, 132/33kV, 1-Phase ICT-I along with associated bays at Tezu Substation 4 X 5MVA, 132/33kV, 1-Phase ICT-II (1 No. spare) along with associated bays at Tezu Substation | 2018-01-21
49 | POWERGRID | Deemed Licensee | 2 nos 220 kV line bays at Alipurduar | 2018-03-01
50 | POWERGRID | Deemed Licensee | 400 kV D/C Punatsangchu-Alipurduar line and associated line bays at Alipurduar | 2018-03-29
51 | POWERGRID | Deemed Licensee | 1 No. 80MVAR, 420kV Spare Reactor and 1 No. 63MVAR, 420kV Spare Reactor at Bongaigaon Substation | 2018-04-01
52 | POWERGRID | Deemed Licensee | 4 X 6.67MVAR, 145kV, 1-Ph Bus Reactor (including 1 No. spare reactor) at Namsai Substation | 2018-06-14
53 | POWERGRID | Deemed Licensee | 1 No. 160 MVA, 220/132 kV, 3-Ph ICT (Spare) to be placed at Kopili Substation (now placed at Balipara Substation due to space constraint at Kopili Substation) | 2018-06-29
54 | POWERGRID | Deemed Licensee | 1 No. 50MVA, 132/33 kV, 3-Ph Power Transformer (Spare) placed at Nirjuli Substation | 2018-06-29
55 | POWERGRID | Deemed Licensee | Hot Line Speech Communication (Computer Dialing) System for Grid Operation consisting of PABX & Associated items as installed and commissioned in NERLDC & 07 nos. SLDCs (Assam, Meghalaya, Tripura, Nagaland, Mizoram, Ar. Pradesh, Manipur) of NER | 2018-04-01
56 | POWERGRID | Deemed Licensee | 132 kV, S/C (on D/C towers) Tezu - Namsai TL along with associated bays at Tezu and Namsai Substations | 2018-07-05
57 | POWERGRID | Deemed Licensee | 3 X 5MVA, 132/33kV, 1-Ph ICT-I and 4 X 5MVA,132/(33kV, 1-Ph ICT-II (1 No. spare transformer) along with associated bays at Namsai Substation | 2018-07-05
58 | POWERGRID | Deemed Licensee | 1 X 125MVAR, 420kV Bus Reactor at Bongaigaon (POWERGRID) Substation along with associated bay | 2018-07-22
59 | POWERGRID | Deemed Licensee | 1 X 125MVAR, 420kV Bus Reactor at Balipara (POWERGRID) Substation along with associated bay | 2018-08-03
60 | POWERGRID | Deemed Licensee | Re-conductoring of Imphal (POWERGRID) - Yurembam (Imphal S/S - Manipur) 132kV S/C line with high capacity conductor HTLS with capacity equivalent to that of single ACSR MOOSE: 798A and Upgradation / modification of 132kV line bay equipment for Imphal (POWERGRID) - Yurembam (Imphal SS - Manipur) 132kV S/C (HTLS) line | 2018-07-18
61 | POWERGRID | Deemed Licensee | 315 MVA, 400/132 kV, 3-Ph ICT-III along with associated bays in GIS bays at 400kV Silchar Substation | 2018-07-18
62 | POWERGRID | Deemed Licensee | 400 KV D/C Kameng-Balipara Transmission line along with associated bays at Balipara S/s | 2018-03-30
63 | POWERGRID | Deemed Licensee | 04 (four) Nos. of Central Sector Communication links viz (i) 132KV Badarpur-Kolasib (Approx. Route length OPGW 106.759 km) (ii) 132KV Kolasib-Aizwal (Approx. Route length OPGW 65.33 km) (iii) 132KV Silchar-Badarpur (Approx. Route length OPGW 19.221 km) & (iv) 132KV Silchar-Srikona (Approx. Route length OPGW 1.199 km) | 2018-04-01
64 | POWERGRID | Deemed Licensee | LILO of 132 KV S/C Aizawl - Zemabawk Transmission Line along with associated bays at Melriat(GIS) Substation | 2018-12-01
65 | POWERGRID | Deemed Licensee | 400 kV D/C Silchar- Melriat (New) Transmission Line (charged at 132kV) along with associated bays at Silchar and Melriat Substations and 132kV Melriat (PG) GIS Substation | 2018-12-01
66 | POWERGRID | Deemed Licensee | 1X125 MVAR, 420kV Bus Reactor with GIS bay at 400/132kV Silchar Substation | 2018-12-20
67 | POWERGRID | Deemed Licensee | 315MVA, 400/220 kV, 3-Ph ICT (Spare from Narendra S/S) | 2018-12-31
68 | POWERGRID | Deemed Licensee | 4 No. of State Sector AEGCL Links viz., (i) 220kV BTPS – Agia (Approx. 65.727km), (ii) 220kV Agia – (with LILO at Mirza & Boko) – Sarusajai (Approx. 130.718km), (iii) 132kV Srikona – Pailapul (Approx. 33.287km) & (iv) 132kV Pailapul – Jiribam (Approx. 12.752km) | 2018-12-31
69 | POWERGRID | Deemed Licensee | Reconductoring of 132kV D/C Agartala GBPP - Agartala (State) line 1 & 2 with High Capacity HTLS conductor along with necessary upgradation/ modification in bay equipment at both ends | 2018-02-08
70 | POWERGRID | Deemed Licensee | Re-conductoring of Imphal (POWERGRID) - Yurembam (Imphal S/S - Manipur) 132kV S/C line with high capacity conductor HTLS and Upgradation / modification of 132kV line bay equipment for Imphal (POWERGRID) - Yurembam (Imphal SS - Manipur) 132kV S/C (HTLS) line at Imphal (POWERGRID) Substation | 2018-07-18
71 | POWERGRID | Deemed Licensee | 31.5 MVAR, 220 kV, Bus Reactor along with associated bay at Mokokchung (POWERGRID) Substation | 2018-12-01
72 | POWERGRID | Deemed Licensee | Dismantling / Removal of 4 X 105MVA, 400/220kV, 1-Ph ICTs at Misa Substation of POWERGRID and addition of 1 X 500MVA, 400/220kV, 3-Ph ICT at Misa Substation | 2019-03-29
73 | POWERGRID | Deemed Licensee | Operation of 400kV D/C Silchar – Imphal Line at rated voltage (400kV) along with upgradation of existing 2X50 MVA, 132/33kV Imphal (POWERGRID) SS to 400kV by installation of 400/132kV, 7X105 MVA, 1-Ph ICTs, 2 No. 400kV line bays for termination of 400kV D/C Silchar - Imphal line at Imphal end & 80MVAR, 420kV Bus Reactor at Imphal SS and Extension of existing 400/132kV Silchar (POWERGRID) SS with 2 Nos. of 400kV GIS line bays for termination of Silchar - Imphal 400kV D/C line at Silchar end | 2019-01-29
74 | POWERGRID | Deemed Licensee | 4 X 5 MVAR, 145 kV, 1-Phase Bus Reactor (including 1 No. spare) along with associated bay at Melriat (GIS) Substation | 2019-01-26
75 | POWERGRID | Deemed Licensee | Main SCADA EMS system of SLDCs of Arunachal Pradesh and Nagaland | 2018-01-15
76 | POWERGRID | Deemed Licensee | 132 kV D/C Silchar- Hailkandi Transmission Line (balance portion beyond LILO point) along with associated bays at Hailakandi Substation | 2017-11-17
77 | POWERGRID | Deemed Licensee | • 2 X 400KV D/C (Quad) Tirunelveli Pooling Station -Tuticorin Pooling station lines along with new 400/230KV (GIS) Tirunelveli Pooling substation with 2X 125MVAR 400KV Bus reactors along with associated bays & equipments at 400/230KV(GIS) Tirunelveli Pooling Station & associated bays & equipments at 400/230KV Tuticorin Pooling station • 2X500MVA, 400/230KV transformers along with associated bays & equipments at new 400/230KV (GIS) Tirunelveli Pooling substation | 2018-06-10
78 | POWERGRID | Deemed Licensee | 01 Nos 220 KV Line Bays No. 210 of Shahjahanpur (PG) -Shahjahanpur (UPPTCL) at 440/220 KV Shahjahanpur S/s | 2016-08-05
79 | POWERGRID | Deemed Licensee | 01 Nos 220 KV Line Bays No. 211 of Shahjahanpur (PG) -Shahjahanpur (UPPTCL) at 440/220 KV Shahjahanpur S/s | 2016-08-05
80 | POWERGRID | Deemed Licensee | 1648.389 Km Fibre Optic communication system in lieu of existing ULDC Microwave Links | 2018-01-20
81 | POWERGRID | Deemed Licensee | 50 MVAR Line reactor at Jaipur (South) in 400 kV D/C Kota- Jaipur (South) line (Part of 400 kV D/C Rapp- Jaipur TL) utilized as Bus reactor at Jaipur (south) substation | 2018-03-05
82 | POWERGRID | Deemed Licensee | Extension of 400/220 kV sikar Substation with 1x500 MVA, 400/220/33 kV autotransformer and associated transformer bays | 2018-03-31
83 | POWERGRID | Deemed Licensee | 400 kV, Circuit-I of Dehradun- Abdullahpur D/C (Quad) line along with associated bay at both ends | 2018-03-31
84 | POWERGRID | Deemed Licensee | Bay extension at Jhatikara end to convert 3x110 MVAR line reactor of 765 kV S/C Kanpur- Jhatikara TL into switchable line reactor. | 2018-03-31
85 | POWERGRID | Deemed Licensee | 400 kV, Circuit-II of Dehradun- Abdullahpur D/C (Quad) line along with associated bay at both ends. | 2018-04-01
86 | POWERGRID | Deemed Licensee | 765/400 kV, 500 MVA, Single phase Ict at Jhatikara | 2018-06-30
87 | POWERGRID | Deemed Licensee | LILO of both ckts. of Bamnauli-Samaypur 400kV line at Tuglakabad along with associated bays | 2018-10-14
88 | POWERGRID | Deemed Licensee | 2x500 MVA ICT-I & II at 400 /220 kV GIS at Tuglakabad S/Stn along with associated 400 & 220 kV ICTs bays | 2018-10-14
89 | POWERGRID | Deemed Licensee | 400 kV, 125 MVAR Bus reactor at GIS Tughlakabad S/Stn along with associated bay | 2018-10-14
90 | POWERGRID | Deemed Licensee | 500 MVA ICT-IV at 400 /220 kV GIS at Tuglakabad S/Stn along with associated 400 & 220 kV ICTs bays | 2018-10-20
91 | POWERGRID | Deemed Licensee | 500 MVA ICT-III at 400 /220 kV GIS at Tuglakabad S/Stn along with associated 400 & 220 kV ICTs bays | 2018-11-28
92 | POWERGRID | Deemed Licensee | 1 no. 400 kV 12ῼ, 75 MVAR Series Bus reactor at Mandola 400/220 Kv (POWERGRID) Substation along with associated bays | 2018-11-04
93 | POWERGRID | Deemed Licensee | 1 no. 400 kV 12ῼ, 75 MVAR Series Bus reactor at Ballabhgarh 400/220 kV (POWERGRID) Substation along with associated bays | 2018-12-07
94 | POWERGRID | Deemed Licensee | 1 no. Series Line Reactor of 12ῼ, 75 MVAR in Dadri-Mandola 400 kV, Ckt-I at Mandola substation (POWERGRID) | 2018-12-07
95 | POWERGRID | Deemed Licensee | 1 no. Series Line Reactor of 12ῼ, 75 MVAR in Dadri-Mandola 400 kV, Ckt-II at Mandola substation (POWERGRID) | 2018-12-07
96 | POWERGRID | Deemed Licensee | Extension of 400/220 kV sikar Substation with 2 nos. 220 kV line bays | 2018-04-01
97 | POWERGRID | Deemed Licensee | a) MEASUREMENT (URTDSM) for NRLDC & SLDC’s of Northern Region-Phasor data Concentrator (PDC) at NRLDC, BBMB, DTL, HVPNL, HPSEBL, PTCUL, J&K, PDD, PSTCL, RRVPNL & UPPTCL | 2018-06-30
98 | POWERGRID | Deemed Licensee | b) Phasor measurement units (PMU’s) at Central Sector & Constituent locations. | 2018-06-30
99 | POWERGRID | Deemed Licensee | 400KV D/C Kota - Jaipur (South) line along with associated bays at Kota and Jaipur (South) (part of RAPP-Jaipur (S) 400KV D/C line with one ckt LILOed at Kota) | 2019-03-29
100 | POWERGRID | Deemed Licensee | 2 nos. 400 kV Line bays for termination of Neemrana- Dhanonda 400 kV D/C line under TBCB | 2019-02-26
101 | POWERGRID | Deemed Licensee | Establishment of Fibre optic communication syatem in Northern Region- 449.777 Kms | 2019-01-01
102 | POWERGRID | Deemed Licensee | Establishment of Fibre optic communication syatem in Northern Region under Fibre optic Expansion Scheme (Additional requirement)- 913.058 Kms | 2019-03-03
103 | POWERGRID | Deemed Licensee | Replacement of 250MVA ICT with 4x105 MVA ICT at Dehar (BBMB) | 2017-02-03
104 | POWERGRID | Deemed Licensee | Extension of 400/220 kV Dehar Substation (BBMB)-400 kV 63MVAR Bus Reactor-II | 2017-10-13
105 | POWERGRID | Deemed Licensee | Extension of GIS Parbati Pooling Station with 7X105 MVA ICT along with associated bays & 2 Nos 220 kV line bays | 2017-12-31
106 | POWERGRID | Deemed Licensee | 400KV D/C Kishenpur-Dulhasti TL along with associated bays at Kishanpur end. | 2018-01-23
107 | POWERGRID | Deemed Licensee | 02 No. 400KV Bays alongwith 2 no. 50 MVAR line reactors at Samba | 2018-08-26
108 | POWERGRID | Deemed Licensee | 400 kV, 315 MVA ICT at Fatehabad S/S (ICT shifted from Spare ICT available at Ballabgarh S/S) | 2018-12-31
109 | POWERGRID | Deemed Licensee | 400KV D/C Kishenpur-Dulhasti TL | 2018-01-23
110 | POWERGRID | Deemed Licensee | 400 kV, 315 MVA ICT at Fatehabad S/S (ICT shifted from Spare ICT available at Ballabgarh S/S) | 2018-12-31
111 | POWERGRID | Deemed Licensee | 315 MVA ICT at GIS Hamirpur S/S | 2019-03-31
112 | POWERGRID | Deemed Licensee | 220 kV Kishanganga -Amargarh Line on M/C Towers | 2018-02-27
113 | POWERGRID | Deemed Licensee | 1 No. 400 KV 80 MVAR Bus Reactor at Kurukshetra | 2018-05-07
114 | POWERGRID | Deemed Licensee | Replacement of 1X100MVA, 220/132kV ICT-II by 1X200MVA 220/132kV ICT-II at Raebareli Sub-station | 2018-02-19
115 | POWERGRID | Deemed Licensee | 400kV D/C Orai-Orai (UPPTCL) line and associated bays at both ends. | 2018-03-31
116 | POWERGRID | Deemed Licensee | 1000MVA, 765/400kV ICT-I along with associated bays at Orai (GIS) Sub-station. | 2018-03-31
117 | POWERGRID | Deemed Licensee | 330MVAR, 765kV Bus Reactor-I along with bay at Orai Sub-station. | 2018-03-31
118 | POWERGRID | Deemed Licensee | 330MVAR, 765kV Bus Reactor-II along with bay at Orai Sub-station. | 2018-03-31
119 | POWERGRID | Deemed Licensee | Circuit-II of 765kV D/C Orai-Aligarh Line with associated bays including 240MVAR Line Reactor at both ends. | 2018-03-31
120 | POWERGRID | Deemed Licensee | LILO of 765kV S/C Kanpur-Jhatikara Line at Aligarh with associated bays. | 2018-03-31
121 | POWERGRID | Deemed Licensee | 330MVAR, 765kV Bus Reactor-I along with bay at Aligarh Sub-station. | 2018-03-31
122 | POWERGRID | Deemed Licensee | 330MVAR Switchable L/R in 765kV S/C Kanpur-Aligarh Line at Aligarh. | 2018-03-31
123 | POWERGRID | Deemed Licensee | 330MVAR, 765kV Bus Reactor-II along with bay at Aligarh Sub-station. | 2018-03-31
124 | POWERGRID | Deemed Licensee | LILO of 765kV S/C Agra-Meerut Line at Aligarh with associated bays. | 2018-03-31
125 | POWERGRID | Deemed Licensee | Line bay for 765kV Satna-Orai S/C Line including 240 MVAR Line Reactor at Orai. | 2018-03-31
126 | POWERGRID | Deemed Licensee | Line bay for 765kV Orai-Gwalior S/C Line at Orai. | 2018-03-31
127 | POWERGRID | Deemed Licensee | Line Bays for 765kV D/C Jabalpur- Orai Line including 330 MVAR Line Reactor in both Ckt at Orai | 2018-03-31
128 | POWERGRID | Deemed Licensee | 1000MVA, 765/400kV ICT-II along with associated bays at Orai (GIS) Sub-station. | 2018-04-15
129 | POWERGRID | Deemed Licensee | Circuit-I of 765kV D/C Orai-Aligarh Line with associated bays including 240MVAR Line Reactor at both ends. | 2018-04-15
130 | POWERGRID | Deemed Licensee | 02 Nos. 220kV, Line Bays at Mainpuri Sub-station. | 2018-04-05
131 | POWERGRID | Deemed Licensee | 02 Nos. 220kV Line Bays at 765/400/220kV Fatehpur Sub-station. | 2018-05-28
132 | POWERGRID | Deemed Licensee | 1X63MVAR, 400kV Bus Reactor-II at 400/220kV Sohawal Sub-station | 2018-05-07
133 | POWERGRID | Deemed Licensee | 02 Nos. 220Kv Line Bays of Sohawal (PG)-Tanda(UP) TL at Sohawal S/S | 2018-12-12
134 | POWERGRID | Deemed Licensee | LILO of Agra-Bharatpur 220 kV S/C Line at Agra (POWERGRID) Substation along with line bays. | 2019-02-07
135 | POWERGRID | Deemed Licensee | Replacement of 1X315 MVA, 400/220kV ICT by 1X500 MVA, 400/220kV ICT at 400/220kV Lucknow Sub-station (Augmentation of Transformers & Bay Extension Works in Northern Region) | 2019-03-08
136 | POWERGRID | Deemed Licensee | URTDSM system (Control Center equipment, PMU's and associated equipment's integrated and commissioned at SLDC Andhra Pradesh | 2018-09-28
137 | POWERGRID | Deemed Licensee | URTDSM system (Control Center equipment, PMU's and associated equipment's integrated and commissioned at SLDC Telangana | 2018-09-28
138 | POWERGRID | Deemed Licensee | URTDSM system (Control Center equipment, PMU's and associated equipment's integrated and commissioned at SLDC Bangalore | 2018-09-28
139 | POWERGRID | Deemed Licensee | URTDSM system (Control Center equipment, PMU's and associated equipment's integrated and commissioned at SLDC Tamil Nadu | 2018-09-28
140 | POWERGRID | Deemed Licensee | URTDSM system (Control Center equipment, PMU's and associated equipment's integrated and commissioned at SLDC Karnataka | 2018-09-28
141 | POWERGRID | Deemed Licensee | URTDSM system (Control Center equipment, PMU's and associated equipment's integrated and commissioned at SLDC Kerala | 2018-09-28
142 | POWERGRID | Deemed Licensee | a) Both circuits of one LILO D/C portion of Simhadri-Vijayawada 400kV Line at Vemagiri-I (AP) LILOed at Vemagiri-II (PG) (D/C Portion and multi-circuit Portion) b) Both circuits of Second LILO D/C portion of Simhadri-Vijayawada 400kV Line at Vemagiri-I (AP) looped in at Vemagiri-II (PG) c) 400kV Vemagiri-II (PG) GIS Sub-station Extension • Line Bays: 06 Nos. • Shifting of 2 Nos. of 63 MVAR reactors from Gazuwaka to Vemagiri-II(PG) for utilization on Simhadri-II-Vemagiri-II(PG) 400kV D/C Line. | 2018-03-29
143 | POWERGRID | Deemed Licensee | • Conversion of 50MVAR Fixed Line Reactor of 400kV Nellore- Thiruvalam- I line to Switchable Line Reactor at Nellore S/s • Conversion of 50MVAR Fixed Line Reactor of 400kV Nellore- Thiruvalam- II line to Switchable Line Reactor at Nellore S/s • Conversion of 50MVAR Fixed Line Reactor of 400kV Kurnool PG- Gooty line to Switchable Line Reactor at Gooty S/s • Conversion of 50MVAR Fixed Line Reactor of 400kV Hyderabad- Gajwel S/c line to Switchable Line Reactor at Hyderabad S/s | 2018-05-24
144 | POWERGRID | Deemed Licensee | • 1 no. 400/220kV 500 MVA ICT-3 along with associated bays and equipment at Khammam S/s • 1 no. 400/220kV 500 MVA ICT-3 along with associated bays and equipment at Warangal S/s | 2018-06-28
145 | POWERGRID | Deemed Licensee | 1 no. 400/220kV 500 MVA ICT-3 along with associated bays and equipment at Gooty S/s | 2018-07-01
146 | POWERGRID | Deemed Licensee | 04 Nos 220kV line bays at NP Kunta Substation | 2018-07-03
147 | POWERGRID | Deemed Licensee | 400kV D/C line from Cuddapah GIS to LILO point of NP Kunta portion of Cuddapah- Hindupur 400kV D/c line along with bays and equipment at Cuddapah GIS | 2018-08-04
148 | POWERGRID | Deemed Licensee | 400kV D/C line from NP Kunta towards Cuddapah upto LILO point of Cuddapah- Hindupur 400kV D/c line, along with bays and equipment at NP Kunta SS | 2018-08-04
149 | POWERGRID | Deemed Licensee | 2x1500 MVA 765/400kV ICTs at Srikakulam along with associated 765kV & 400kV bays at Srikakulam Pooling Station | 2018-08-07
150 | POWERGRID | Deemed Licensee | 2 nos. of 400kV line bays at Srikakulam for termination of Srikaukulam Pooling Station – Garividi 400 kV (quad) D/c line. | 2018-08-07
151 | POWERGRID | Deemed Licensee | 01 No. 500MVA, 400/220kV ICT-IV along with bays & equipment at NP Kunta Substation | 2018-09-30
152 | POWERGRID | Deemed Licensee | • Establishment of 765/400kV Substation at Kadapa (GIS) along with 2x1500 MVA ICTs, associated bays & equipment • LlLO of Kurnool-Thiruvalam 765 kV D/c line along with bays & equipment at 765/400 kV Kadapa GIS • 02x 240 MVAR, 765kV Bus reactors at Kadapa GIS | 2018-10-25
153 | POWERGRID | Deemed Licensee | • 1 no. 400kV, 125MVAR, Bus Reactor-2 along with associated bays and equipment at 400kV Kadapa SS • 1 no. 765kV, 240MVAR, Bus Reactor-2 along with associated bays and equipment at 765/400kV Nellore SS • 1 no. 765kV, 240MVAR, Bus Reactor-2 along with associated bays and equipment at 765/400kV Kurnool SS • 1 no. 765kV, 240MVAR, Bus Reactor-2 along with associated bays and equipment at 765/400kV Raichur SS | 2018-10-31
154 | POWERGRID | Deemed Licensee | 1 no. 400/220kV 500 MVA ICT-3 along with associated bays and equipment at Cuddapah S/s | 2018-10-01
155 | POWERGRID | Deemed Licensee | • 01 No. 500MVA, 765/ 400 kV Regional Spare ICT at Raichur 765/ 400kV SS | 2019-02-06
156 | POWERGRID | Deemed Licensee | At Cuddapah 765/ 400kV S/s: • 01 nos. of 50 MVAR switchable line reactor on each circuit of Cuddapah – Madhugiri 400kV (quad) D/c line (02 nos. 50 MVAR Switchable line reactors) • 02 nos of 400 kV line bays for termination of Cuddapah – Madhugiri 400 kV (quad) D/c line At Madhugiri 400/220kV S/s: • 01 nos. of 50 MVAR switchable line reactor on each circuit of Cuddapah – Madhugiri 400kV (quad) D/c line (02 nos. 50 MVAR Switchable line reactors) • 02 nos of 400 kV line bays for termination of Cuddapah – Madhugiri 400 kV (quad) D/c line | 2019-02-28
157 | POWERGRID | Deemed Licensee | 765/ 400kV Kurnool S/s Extn: • 02x240MVAR, 765kV, Switchable Line Reactors (6x80MVAR, 765kV, 1-PH Shunt Reactor). • 02 Nos. 765kV Switchable Line Reactor Bays • 02 Nos. 765kV Line Bays excluding PLCC, Telecom equipment and Line Terminal equipment such as LA, CVT & Wave Trap | 2019-03-11
158 | POWERGRID | Deemed Licensee | . 02 nos. of 765kV line bays at Vemagiri-II Pooling Station for termination of Vemagiri-II – Chilakaluripeta 765kV D/c line. . 01 nos. of 240 MVAR Switchable Line Reactor on each circuit of Vemagiri-II – Chilakaluripeta 765kV D/c line at Vemagiri-II Pooling Station (02 nos. 240 MVAR reactors at Vemagiri-II) | 2019-01-15
159 | POWERGRID | Deemed Licensee | LILO of existing Neyveli TS-II- Pondicherry 400 KV S/C at NNTPS generation switchyard | 2018-06-26
160 | POWERGRID | Deemed Licensee | LILO of one Circuit of 400kV Gooty-Tumkur (Vasantnarsapur) D/C line at Tumkur (Pavagada) pooling station | 2018-02-01
161 | POWERGRID | Deemed Licensee | 1 X 500 MVA 400/220kV ICT at 400/220kV pooling station at Tumkur (Pavagada) along with associated bays & equipments | 2018-02-14
162 | POWERGRID | Deemed Licensee | Conversion of 63MVAR fixed line reactor at Madurai end of Madurai-Karaikudi line into Switchable line reactor | 2018-02-26
163 | POWERGRID | Deemed Licensee | Conversion of 50MVAR fixed line reactor at Madurai end of Madurai-Trichy line into Switchable line reactor. | 2018-02-26
164 | POWERGRID | Deemed Licensee | Conversion of 50MVAR fixed line reactor at Salem end of Salem- Hosur II line into Switchable line reactor. | 2018-02-26
165 | POWERGRID | Deemed Licensee | Conversion of 63MVAR fixed line reactor at Udumalpet end of Udumalpet-Salem II line into Switchable line reactor | 2018-02-26
166 | POWERGRID | Deemed Licensee | Conversion of 50MVAR fixed line reactors at Thiruvallam end on both circuits of Nellore- Thiruvallam I &II into Switchable line reactors. | 2018-02-26
167 | POWERGRID | Deemed Licensee | Conversion of 50 MVAR fixed line reactor at Trichy end of Trichy-Nagapattinam I line into Switchable line reactor. | 2018-02-26
168 | POWERGRID | Deemed Licensee | Conversion of 63 MVAR fixed line reactor at Trichy end of Trichy-Nagapattinam II line into Switchable line reactor. | 2018-02-26
169 | POWERGRID | Deemed Licensee | Conversion of 50 MVAR fixed line reactor at Sriperumbudur end of Sriperumbudur-Chitoor line into Switchable line reactor | 2018-02-26
170 | POWERGRID | Deemed Licensee | Conversion of 50 MVAR fixed line reactor at Sriperumbudur end of Sriperumbudur-S V Chatram line into Switchable line reactor. | 2018-02-26
171 | POWERGRID | Deemed Licensee | Extension of Kudankulam APP- Tirunelveli 400kV(Quad) D/C line to Tuticorin Pooling station along with associated bays and equipments at Tuticorin Pooling Station | 2018-03-10
172 | POWERGRID | Deemed Licensee | Nelamangala- Yelahanka(39.006Km) OPGW Fibre communication link of Central Sector along with associated Communication equipment | 2018-03-28
173 | POWERGRID | Deemed Licensee | OPGW Fibre Communication Links along with associated Communication equipments (Total 98.484Km) | 2018-03-28
174 | POWERGRID | Deemed Licensee | 1 x 500 MVA 400/230kV ICT along with associated bays and equipment at Karaikudi 400/230kV Substation | 2018-04-02
175 | POWERGRID | Deemed Licensee | 0 | 2018-04-03
176 | POWERGRID | Deemed Licensee | Replacement of existing 2nd 1X315 MVA 400/220kV transformer with 1X500 MVA transformer at 400/220kV Narendra substation (The replaced 1X315MVA transformer shall be used as a regional spare) | 2018-04-16
177 | POWERGRID | Deemed Licensee | • LILO of 400 kV S/c Neelamangla - Hoody Transmission Line at new 400/220KV GIS Substation at Yelahanka with 1 X 63 MVAR 420 kV Bus Reactor along with associated bays & equipments. • 2X500MVA, 400/220KV ICT’s along with associated bays & equipments at 400/220kV Yelahanka Substation. | 2018-04-01
178 | POWERGRID | Deemed Licensee | 1 x 500 MVA 400/230kV ICT along with associated bays and equipment at Pondicherry 400/230kV Substation | 2018-06-22
179 | POWERGRID | Deemed Licensee | Conversion of 63 MVAR fixed line reactors at Kochi end on both circuits of Kochi Tirunelveli-I & II into Switchable line reactors | 2018-06-25
180 | POWERGRID | Deemed Licensee | 1 X 500 MVA 400/220 kV ICT-II at 400/220 kV Tumkur (Pavagada) pooling station along with associated bays & equipment | 2018-07-12
181 | POWERGRID | Deemed Licensee | Tumkur (Pavagada) pool - Hiryur 400KV D/C line along with associated bays & equipment at both ends | 2018-09-27
182 | POWERGRID | Deemed Licensee | Salem Pooling Station – Madhugiri Pooling Station 765kV S/C Line (initially charged at 400kV) along with associated Bays & equipments at Salem PS and Madhugiri PS and 400KV 63 MVAR line reactor at Madhugiri end of the Salem Pooling Station – Madhugiri 765kV S/C Line (Initially charged at 400kV) | 2018-11-01
183 | POWERGRID | Deemed Licensee | 1 no. 400KV bay each at Salem New (Dharmapuri) and Madhugiri for terminating Salem New (Dharmapuri)- Madhugiri 765KV S/C Line -2 (Initially charged at 400KV) being implemented under tariff based bidding and 1 no. 63MVAR line reactor at Madhugiri end of Salem New (Dharmapuri)- Madhugiri 765KV S/C Line -2 (Initially charged at 400KV) being implemented under tariff based bidding | 2019-01-26
184 | POWERGRID | Deemed Licensee | Salem PS(Dharmapuri)- Madhugiri (Tumkur) OPGW Link (246.197 KMs) | 2019-03-19
185 | POWERGRID | Deemed Licensee | Dharmapuri (Salem-New) - Somanahalli 400kV D/C Quad Line along with associated bays & equipments at Dharmapuri (Salem-New)and Somanahalli Substations | 2019-03-30
186 | POWERGRID | Deemed Licensee | 1 no. 500MVA 400/220KV transformer along with its associated bays and equipment's at Tumkur (Pavagada) pooling station | 2019-03-31
187 | POWERGRID | Deemed Licensee | 1X500 MVA 400/230 KV ICT along with associated bays and equipment at Tirunelveli | 2018-03-31
188 | POWERGRID | Deemed Licensee | 1X500 MVA 400/230 KV ICT along with associated bays and equipment at Arasur | 2018-03-31
189 | POWERGRID | Deemed Licensee | 1X125 MVAR 400 KV Bus Reactor along with associated bays and equipment at 400/220 KV Tumkur (Pavagada) pooling station | 2018-03-31
190 | POWERGRID | Deemed Licensee | LILO of 400 KV D/C Bellary-Tumkur (Vasantnarsapur) D/C (Quad Moose) TL at Tumkur (Pavagada) pooling station along with associated bays & equipments | 2018-03-31
191 | POWERGRID | Deemed Licensee | • 2 X 400KV D/C (Quad) Tirunelveli Pooling Station -Tuticorin Pooling station lines along with new 400/230KV (GIS) Tirunelveli Pooling substation with 2X 125MVAR 400KV Bus reactors along with associated bays & equipments at 400/230KV(GIS) Tirunelveli Pooling Station & associated bays & equipments at 400/230KV Tuticorin Pooling station • 2X500MVA, 400/230KV transformers along with associated bays & equipments at new 400/230KV (GIS) Tirunelveli Pooling substation | 2018-06-10
192 | POWERGRID | Deemed Licensee | LILO of 230kV Neyveli- Bahour S/c line at 230KV Karaikal S/S | 01/10/2018
193 | POWERGRID | Deemed Licensee | 400 KV Korba-Birsinghpur, Bilaspur-Dharamjaygarh, Parli (400KV)-Wardha (Central Sector) | 2018-09-02
194 | POWERGRID | Deemed Licensee | Aurangabad (POWERGRID)-Padghe (POWERGRID). | 2018-03-01
195 | POWERGRID | Deemed Licensee | Wardha(POWERGRID)-Pandurna (Repeater) | 2018-03-01
196 | POWERGRID | Deemed Licensee | 234MVA 3 No. Spare Converter Transformer(3 winding) at Bhadrawati HVDC | 2018-03-22
197 | POWERGRID | Deemed Licensee | 400kV +/-300MVAr STATCOM (Dynamic Compensation) associated along with 2x125 MVAr Reactor and 1x125 MVAr Capacitor (for Mechanical Switched Compensation) at 765/400kV Aurangabad Substation | 2018-04-01
198 | POWERGRID | Deemed Licensee | 400kV +/-300MVAr STATCOM (Dynamic Compensation) associated along with 2x125 MVAr Reactor and 1x125 MVAr Capacitor (for Mechanical Switched Compensation) at 765/400kV Solapur Substation | 2018-04-15
199 | POWERGRID | Deemed Licensee | 1) 2 Nos. 765kV Line Bays at 765/400kV Solapur (POWERGRID) Sub Station (for New Parli (TBCB)-Solapur (POWERGRID) 765kV D/c line under TBCB route). | 2018-04-27
200 | POWERGRID | Deemed Licensee | 2) 2 Nos. 400kV Line Bays at Parli (POWERGRID) Switching Station (for Parli new (TBCB)-Parli(POWERGRID) 400 kV D/c (Quad) line under TBCB). | 2018-04-27
201 | POWERGRID | Deemed Licensee | Conversion of 63MVAR, 420kV Fixed Line Reactor in Bhadrawati - Dhariwal 400kV S/c Line into BUS Reactors at Bhadrawati S/s | 2018-07-19
202 | POWERGRID | Deemed Licensee | Extension of 765kV Champa (POWERGRID) S/S. Extension of 765kV Dharamjaygarh (POWERGRID) S/S. | 2018-07-23
203 | POWERGRID | Deemed Licensee | 1 No.765kV line bays at 765/400kV Bilaspur Pooling Station for Sipat(NTPC) -Bilaspur Pooling Station (Powergrid) 765kV 3rd S/c Line. | 2018-08-08
204 | POWERGRID | Deemed Licensee | Extension of 765kV Champa (POWERGRID) PS & Kotra (Raigharh) PS of POWERGRID (for Champa PS (Powergrid) - Kotra (Raigarh Powergrid) 765kV 2nd S/c Line. | 2018-09-26
205 | POWERGRID | Deemed Licensee | 765kV D/C Jharsuguda-Dharamjaigarh Along with associated Bays at Jharsuguda end | 2018-11-03
206 | POWERGRID | Deemed Licensee | Xeldam-Madgaon(SLDC) | 2019-03-01
207 | POWERGRID | Deemed Licensee | 2 No. 765kV line bays along with 2 No. 240MVAR 765kV Switchable Line Reactors at Bilaspur Pooling Station for Bilaspur Pooling Station (POWERGRID)-Rajnandgaon(TBCB) 765kV D/C Line”. | 2019-03-23
208 | POWERGRID | Deemed Licensee | Mapusa-Amona, Amona-Ponda(220), Mapusa-Thivim, Ponda(110)-Jheldum, Ponda(110)-Varna, Jheldum-Kunkolin | 2018-07-02
209 | POWERGRID | Deemed Licensee | 63 MVAr switchable line reactor along with 500 Ohms NGR at Rajgarh (POWERGRID) end of Khargone TPS – Rajgarh (POWERGRID) 400 kV line (formed after LILO of one circuit of Khandwa – Rajgarh 400 kV D/C line at Khargone TPS, being implemented under TBCB) | 2018-03-01
210 | POWERGRID | Deemed Licensee | 2 nos. 400 kV line bays at 765/400 kV Vindhyachal Pooling Station of POWERGRID (for Vindhyachal (IV/V) STPP switchyard (NTPC) – Vindhyachal Pooling Station (POWERGRID) 400 kV 2nd D/C (quad) line) | 2018-03-18
211 | POWERGRID | Deemed Licensee | 765 kV D/C Jabalpur Pooling Station - Orai TL along with associated line bays and 2*330 MVAR Line Reactors at both ends. | 2018-03-31
212 | POWERGRID | Deemed Licensee | LILO of one circuit of 765 kV 2xS/C Satna - Gwalior TL along with 765 kV Satna Line Bay and 765 kV Gwalior Line Bay and 240 MVAR line reactor for Satna line bay at Orai Substation. | 2018-03-31
213 | POWERGRID | Deemed Licensee | 400kV, +/- 2x150MVAR STATCOM (Dynamic Compensation) along with associated 2x125MVAr Reactor and 1x125MVAr Capacitor (for Mechanical Switched Compensation) at 765/400kV Satna Substation. | 2018-03-31
214 | POWERGRID | Deemed Licensee | • 1 no. 765 kV line bay at 765/400 kV Vindhyachal Pooling station of POWERGRID (for Sasan UMPP – Vindhyachal Pooling Station (POWERGRID) 765 kV 2nd S/C line). | 2018-04-28
215 | POWERGRID | Deemed Licensee | • 2 no. 400 kV GIS line bays at 400 kV Gwalior SS (for Gwalior SS – Morena (POWERGRID) 400 kV D/C (quad) line). | 2018-05-11
216 | POWERGRID | Deemed Licensee | • 1 no. 500 MVA, 400/220 kV ICT # 4 along with associated bays at Boisar substation | 2018-05-06
217 | POWERGRID | Deemed Licensee | • 1 no. 500 MVA, 400/220 kV ICT # 3 along with associated ICT bays at Khandwa substation | 2018-05-21
218 | POWERGRID | Deemed Licensee | • Conversion of 50 MVAR, 420kV Fixed Line Reactors, in 400kV D/C Bina (PG) – Shujalpur transmission line into Switchable Line Reactors at Shujalpur SS. | 2018-05-25
219 | POWERGRID | Deemed Licensee | 2 nos. 220 KV line bays at Navsari substation (GIS) (for Navsari –Bhestan 220 KV D/C line) | 2018-05-20
220 | POWERGRID | Deemed Licensee | • 1 no. 500 MVA, 400/220 kV ICT # 3 along with associated ICT bays at Dehgam substation | 2018-06-07
221 | POWERGRID | Deemed Licensee | A. Central Sector 1) 220 kV Haldarwa-Kakrapar (NPC) 2) 400 kV Vindhyachal Pooling - SASAN UMPP 3) 220 kV Navsari (PG)-Navsari (GETCO) B. Sate Sector 1) 200 kV Gwalior (PG) - Gwalior (MPPTCL) 2) 220 kV Indore(MPPTCL) – Barwaha (MPPTCL) 3) 220 kV Bina (PG) - Bina (MPPTCL) 4) 220 kV Seoni (PG)- Seoni (MPPTCL) 5) 220 kV Barwaha (MPPTCL) –Chhegaon (MPPTCL) 6) 220 kV Khandwa (PG) -Chhegaon (MPPTCL) | 2018-07-01
222 | POWERGRID | Deemed Licensee | LILO of Vindhyachal – Jabalpur 400 kV 2nd D/C line (Ckt # 3 & Ckt # 4) at Rewa Pooling Station comprising of following – (a) 400 kV Rewa (pooling) – Sasan TL (Vindhyachal – Jabalpur Ckt 3 is LILOed at Sasan) with associated bay at 400 kV Rewa Pooling Station (b) 400 kV Rewa (pooling) – Vindhyachal TL with associated bay at 400 kV Rewa Pooling Station (c) 400 kV Rewa (pooling) – Jabalpur # 1 TL with associated bay at 400 kV Rewa Pooling Station (d) 400 kV Rewa (pooling) – Jabalpur # 2 TL with associated bay at 400 kV Rewa Pooling Station • 2 nos. 500 MVA, 400/220 kV ICT along with associated 400 kV and 220 kV transformer bays. • 1x125 MVAR, 400 kV Bus Reactor with associated bay at Rewa Pooling Station. • 1 no. 220 kV Bus Coupler bay at Rewa Pooling Station. • 1 no 220 kV line bay for 220 kV Rewa Pooling – Barsaita Desh Ckt- 1 Line at Rewa Pooling Station. | 2018-07-06
223 | POWERGRID | Deemed Licensee | • 1 no 220 kV line bay for 220 kV Rewa Pooling – Ramnagar Pahad Ckt- 2 Line at Rewa Pooling Station. • 1 no 220 kV line bay for 220 kV Rewa Pooling – Barsaita Desh Ckt- 2 Line at Rewa Pooling Station. | 2018-07-25
224 | POWERGRID | Deemed Licensee | 2 nos. 400 kV line bays at 765/400 kV Vadodara GIS. 1x125 MVAR, 400 kV Bus Reactor with bay at 765/400 kV Vadodara GIS | 2018-08-27
225 | POWERGRID | Deemed Licensee | • Conversion of 50 MVAR, 420kV Fixed Line Reactors, in each circuit of Itarsi – Indore (MPPTCL) 400kV 2xS/c lines, into Switchable Line Reactors at Indore (MPPTCL) SS. | 2018-10-03
226 | POWERGRID | Deemed Licensee | • 1 no. 220 kV Transfer Bus Coupler bay at Rewa Pooling Station. • 1 no 220 kV line bay for 220 kV Rewa Pooling – Ramnagar Ckt- 1 Line at Rewa Pooling Station. | 2018-10-16
227 | POWERGRID | Deemed Licensee | • 2 nos. 220 kV line bays at 400/220 kV Khandwa Substation (for 220 kV D/C Khandwa – Chhanera (MPPTCL) line) | 2018-11-05
228 | POWERGRID | Deemed Licensee | • 400kV, +/- 2x100 MVAR STATCOM (Dynamic Compensation) along with associated 2x125MVAr Reactor and 1x125MVAr Capacitor (for Mechanical Switched Compensation) at 765/400kV Gwalior Substation. | 2018-12-26
229 | POWERGRID | Deemed Licensee | • 1 no. 500 MVA, 400/220 kV ICT # 3 along with associated ICT bays at Kala Substation | 2018-11-24
230 | POWERGRID | Deemed Licensee | A.) Central Sector 1. 765 kV Sasan - Satna Ckt-1 | 2019-01-16
231 | POWERGRID | Deemed Licensee | 1 no. 500 MVA, 400/220 kV ICT # 3 along with associated 400 kV and 220 kV transformer bays at Rewa S/s. | 2019-02-08
232 | POWERGRID | Deemed Licensee | A.) Central Sector 400 kV Vapi-Magarwada B.) State Sector 220kV Chhindwada-Seoni 220kV Ratlam-Nagda 220kV Shujalpur-Shujalpur 220kV Neemuch-Nagda 220kV Itarsi-Itarsi 220kV Rajgarh-Rajgarh 220kV Pithampur-Pithampur 220kV Indore SZ-Indore Chambal 132kV Seoni-Pench | 2019-03-01
233 | POWERGRID | Deemed Licensee | State Sector 1. 220 kV Indore - Pithampur (MPPTCL) | 2019-03-01
234 | POWERGRID | Deemed Licensee | • 765 kV Banaskantha – Chittorgarh D/C transmission line with 2 nos. 330 MVAR, 765 kV Switchable Line Reactors at Banaskantha SS and 2 nos. 240 MVAR, 765 kV Switchable Line Reactors at Chittorgarh SS along with associated line bays at both ends. • 400 kV Banaskantha – Sankhari D/C transmission line with associated bays at 765/400 kV Banaskantha SS and 400 kV Sankhari (GETCO) SS. • 2 nos. 1500 MVA, 765/400 kV ICTs along with associated 765 kV and 400 kV transformer bays at Bansakantha SS. • 1 no. 765 kV, 330 MVAR Bus Reactor along with associated bay at Banaskantha SS. | 2019-03-02
235 | POWERGRID | Deemed Licensee | • 765 kV Bhuj – Banaskantha D/C line along with 2 nos. 330 MVAR, 765 kV Switchable Line Reactors and associated bays at both ends. • 1 no. 1500 MVA, 765/400 kV ICT # 2 along with associated 765 kV and 400 kV transformer bays at 765/400 kV Bhuj SS. • 1 no. 765 kV, 330 MVAR Bus Reactor along with associated bay at Bhuj SS. | 2019-03-20
236 | POWERGRID | Deemed Licensee | • 400 kV Mundra (CGPL) – Bhuj ckt 2 line with associated line bays at Mundra (CGPL) generating station and 765/400 kV Bhuj SS | 2019-03-20
237 | POWERGRID | Deemed Licensee | • 1 no. 1500 MVA, 765/400 kV ICT # 1 along with associated 765 kV and 400 kV transformer bays at 765/400 kV Bhuj SS. | 2019-03-24
238 | POWERGRID | Deemed Licensee | • 1 no. 400 kV, 125 MVAR Bus Reactor along with associated bay at Banaskantha SS. | 2019-03-29
239 | POWERGRID | Deemed Licensee | • 1 no. 400 kV, 125 MVAR Bus Reactor along with associated bay at Bhuj SS. | 2019-03-30
240 | POWERGRID | Deemed Licensee | Central Sector 765 kV Satna – Gwalior Ckt - 1 | 2019-03-30
241 | POWERGRID | Deemed Licensee | • 2 nos. 500 MVA, 400/220 kV ICTs along with associated transformer bays at Bhuj SS | 2019-03-31
242 | POWERGRID | Deemed Licensee | • 2 no. 765 kV line bays and 2 nos. of 330 MVAR Line Reactors each at both Vindhyachal and Jabalpur end (for 765 kV D/C Vindhyachal PS – Jabalpur PS line (TBCB)) | 2019-01-01
243 | POWERGRID Jabalpur Transmission Limited | ISTS Licensee | 765 KV D/C Vindhyachla Pooling Station - Jbalpur Pooling Station | 2019-01-01
244 | POWERGRID NM Transmission Limited | ISTS Licensee | Salem - Madhusiri 765 KV S/C Line | 2019-01-26
245 | POWERGRID Parli Transmission Limited | ISTS Licensee | 765 KV D/C Warora Pooling station- Parli(New) Line | 2018-06-04
246 | POWERGRID Parli Transmission Limited | ISTS Licensee | 765 KV D/C Parli(New) -Solapur Line | 2018-04-27
247 | POWERGRID Parli Transmission Limited | ISTS Licensee | 400 KV D/C (Quad) Parli(New) -Parli (PG) Line | 2018-04-27
248 | POWERGRID Parli Transmission Limited | ISTS Licensee | Establishment of 2 X 1500 MVA 765/400 KV Parli (New) S/s | 2018-04-27
249 | POWERGRID Southern Interconnector System Transmission Limited | ISTS Licensee | 400KV D/C Quad Srikakulam Pooling Station- Garividi Line | 2018-08-06
250 | POWERGRID Southern Interconnector System Transmission Limited | ISTS Licensee | 2No 400 KV Line Bays at 400 KVGarividi S/s of APTRANSCO | 2018-08-06
251 | POWERGRID Southern Interconnector System Transmission Limited | ISTS Licensee | 400 KV D/C (Quad) Kadapa-Madhugiri Line | 2019-02-28
252 | Warora - Kurnool Transmission Limited | ISTS Licensee | 240 MVAr Switchable line reactors at Warora Pool end in each circuit of Warora Pool-Rajnandgaon 765 KV D/C line with NGR (700 Ohm) - CKT I. | 2019-03-27
253 | Warora - Kurnool Transmission Limited | ISTS Licensee | 240 MVAr Switchable line reactors at Warora Pool end in each circuit of Warora Pool-Rajnandgaon 765 KV D/C line with NGR (700 Ohm) - CKT II | 2019-03-29
254 | NRSS-XXXVI Transmission Limited | ISTS Licensee | LILO of one Ckt. of 400 KV D/C Sikar (PG)-Neemrana (PG) line at Babai (RRVPNL) | 2018-02-21
255 | NRSS-XXXVI Transmission Limited | ISTS Licensee | 2 Nos. of bays at 400kV Babai (RRVPNL) sub-station for LILO of one Ckt. of 400 kV D/C Sikar (PG)- Neemrana (PG) line at Babai (RRVPNL) | 2018-02-21
256 | Alipurduar Transmission Limited | ISTS Licensee | 400 KV Kishanganj-Dharbanga DC & 2Nos 80 MVAR Line Reactors at Dharbanga End | 2019-03-14
257 | Chhattisgarh-WR Transmission Limited | ISTS Licensee | 765 KV Sasan-Vindhyachal PG S/C Line | 2018-04-30
258 | Chhattisgarh-WR Transmission Limited | ISTS Licensee | 400 KV Vindhyachal PG Station - Vindhayachal Satge-IV | 2018-04-02
259 | Chhattisgarh-WR Transmission Limited | ISTS Licensee | 400 KV Gwalior-Morena D/c Line | 2018-05-13
260 | Chhattisgarh-WR Transmission Limited | ISTS Licensee | 765 KV S/C Champa-Dhramjaygarh | 2018-07-25
261 | Chhattisgarh-WR Transmission Limited | ISTS Licensee | 765 KV S/C Raigarh- Champa | 2018-09-28
262 | Gurgaon Palwal Transmission Limited | ISTS Licensee | 400 KV D/C Neemrana (PG) - Dhanonda (HVPNL) HTLS Transmission Line | 2019-02-25
263 | Gurgaon Palwal Transmission Limited | ISTS Licensee | 400 KV Line Bays at 400 KV Dhanonda (HVPNL) Substation | 2019-02-25
264 | Raipur-Rajandgaon-Warora Transmission Limited | ISTS Licensee | 765 KV D/C Raipur Pool-Rajandgaon Line | 2019-03-31
265 | Raipur-Rajandgaon-Warora Transmission Limited | ISTS Licensee | 765 KV D/C Rajandgaon - Polling station Line near Warora Line | 2019-03-31
266 | Raipur-Rajandgaon-Warora Transmission Limited | ISTS Licensee | Establishment of New 765/400 Kv Pooling station near Rajandgaon | 2019-03-31
267 | Sipat Transmission Limited | ISTS Licensee | Sipat-Bilaspur Pooling Station at 3rd 765KV TL & 765 KV Line bay at Sipat | 2018-08-08
268 | Sipat Transmission Limited | ISTS Licensee | 765 KV D/C BilaspurPolling station - Ranjandgaon Line | 2018-03-25
269 | Teestavalley Power Transmission Limited | ISTS Licensee | 400 KV Dikchu (LILO Tower of Dikchu) - Rangpo (POWERGRID LILO Point) Line | 2018-02-07
270 | Teestavalley Power Transmission Limited | ISTS Licensee | 400 KV Kishanganj-Rangpo(upto Rangpo LILO Point) Line (associated bay no.411) | 2019-02-13
271 | Teestavalley Power Transmission Limited | ISTS Licensee | 400 KV Kishanganj-Teesta-III (upto Rangpo LILO Point) Line (associated bay no.410) | 2019-01-06
Note:Apart from the above assets, there are some STU assets which were certified by respective RPCs as deemed ISTS elements.