## DOCO 01.10.2016 to 31.03.2017
POWER GRID CORPORATION OF INDIA LIMITED
Corporate Commercial Department
Corporate Office, “Saudamini” Plot No.-2
Sector-29, Near IFFCO Chowk, Gurgaon-122001,Haryana
Details of ISTS assets commissioned and under commercial operation (DOCO) during 01.10.2016 to 31.03.2017
Sl.No. | ISTS Licensee | Owner Category | Description of Assets | DOCO/ Deemed COD
1 | POWERGRID | Deemed Licensee | Installation of 1 no of 1x125 MVAR Bus Reactor at Maithan S/s with GIS bay under "ERSS XII" | 2016-10-06
2 | POWERGRID | Deemed Licensee | 1 no 1x500 MVA, 400/220 ICT at 400/220/132kV Baripada Sub-Station along-with GIS bays under "ERSS XII, project in ER" | 2016-10-02
3 | POWERGRID | Deemed Licensee | 1 no 1x125 MVAR,Bus Reactor at 400/220/132kV Baripada Sub-Station along-with GIS bays under "ERSS XII, project in ER" | 2016-10-02
4 | POWERGRID | Deemed Licensee | 1 no of 1x125 MVAR Bus Reactor and associated bay at 400kV Maithan S/S under ERSS IX | 2016-10-01
5 | POWERGRID | Deemed Licensee | 400/220kV, 500 MVA ICT - I along-with associated bays at Kishanganj (GIS) substation under "Transmission system for transfer of power from generation projects in Sikkim to NR/WR Part A in Eastern Region" | 2016-10-05
6 | POWERGRID | Deemed Licensee | 4 nos of 220kV GIS line bays at Kishanganj (GIS) Sub-station under "Eastern Region System strengthening XII (ERSS XII)" | 2016-10-20
7 | POWERGRID | Deemed Licensee | Modification of 132kV Bus arrangement at 220/132kV Siliguri Substation with GIS bays under ERSS XII. | 2016-11-30
8 | POWERGRID | Deemed Licensee | 400kV 125 MVAR Bus Reactor - II along-with associated bay at Kishanganj (GIS) substation under "Transmission System for Transfer of Power from Generation projects in Sikkim to NR/WR Part A in ER" | 2016-12-09
9 | POWERGRID | Deemed Licensee | 2 nos of 400kV line bays along-with 2x50 MVAR (Fixed) line reactors at 765/400kV Ranchi Substation under substation extension under "Eastern Region System strengthening VII (ERSS VII)" | 2016-10-17
10 | POWERGRID | Deemed Licensee | 1x63 MVAR (Fixed) line reactor at Chaibasa under substation extension under "Eastern Region System strengthening VII (ERSS VII)" | 2016-10-27
11 | POWERGRID | Deemed Licensee | 2 nos 400kV line bays at Kharagpur of West Bengal under ERSS VII | 2016-11-14
12 | POWERGRID | Deemed Licensee | 1 no of 1x125 MVAR Bus Reactor(1st) and associated bay equipments at 400kV Durgapur S/S under ERSS IX | 2016-10-23
13 | POWERGRID | Deemed Licensee | 1 no of 1x125 MVAR Bus Reactor(2nd) and associated bay equipments at 400kV Durgapur S/S under ERSS IX | 2016-12-30
14 | POWERGRID | Deemed Licensee | LILO of one ckt of 400kV D/C Teesta III-Kishanganj line (LILO-I) at Rangpo and associated bays at Rangpo under "Transmission system for transfer of power from generation projects in Sikkim to NR/WR (Part-B)" | 2016-11-26
15 | POWERGRID | Deemed Licensee | 2 nos of 400kV line bays for termination of LILO of 2nd circuit of Jamshedpur-Rourkela 400kV line at Chaibasa Substation under "Eastern Region System strengthening V (ERSS V)" | 2016-11-22
16 | POWERGRID | Deemed Licensee | Gokarna-Farakka portion of 400kV D/C Rajarhat-Purnea TL including LILO of one ckt of Rajarhat-Purnea TL at Farakka and LILO of other ckt of Rajarhat-Purnea TL at Gokrana and associated line bays at Farakka and Gokrana (On commissioning of above, the effective transmission line becomes operative as 400 kV D/C Gorkarna-Farakka TL) under ERSS V | 2017-03-31
17 | POWERGRID | Deemed Licensee | 7 Nos of OPGW Links (Central Sector) under Fibre Optic Communication System in Eastern Region under Expansion of Wideband Communication Network in Eastern Region: (a) Baripada-Keonjhar (b) Birpara-Alipurduar (c) Angul-Bolangir (d) Gaya-Chandwa (e) Purnea 400kV- Purnea 220kV (f) Rengali-Keonjhar (g) Uttara(Pandiabilli)-Mendhasal | 2017-03-01
18 | POWERGRID | Deemed Licensee | 765kV Double Circuit Angul-Srikakulam Transmission Line under "Common system associated with East Coast energy Pvt Ltd & NCC power projects Ltd LTOA generation projects in Srikakulam area Part-A" | 2017-02-01
19 | POWERGRID | Deemed Licensee | 8 Nos. 220 kV Line Bays at 400/220 kV GIS Sub-Station at Kurukshetra under WR-NR HVDC Interconnector for IPP projects in Chhattisgarh. | 2017-03-25
20 | POWERGRID | Deemed Licensee | 2 Nos. 400/220 kV, 500 MVA ICTs along with associated bays of 400/220 kV GIS Sub-Station at Kurukshetra under WR-NR HVDC Interconnector for IPP projects in Chhattisgarh. | 2017-03-25
21 | POWERGRID | Deemed Licensee | LILO of one Ckt of 400 KV D/C RAPP-Kankroli Line alongwith associated bays at Chittorgarh (RVPNL) substation under NRSS-XXXII. | 2016-10-02
22 | POWERGRID | Deemed Licensee | 765 kV Jaipur( Phagi ) RVPNL- Bhiwani Ckt-II alongwith 240 ( 3X80) MVAR non switchable line reactor and associated bays at Bhiwani end and 240 (3X80) MVAR switchable line reactor and associated bays at Jaipur (Phagi) end under NRSS - XXV | 2016-10-07
23 | POWERGRID | Deemed Licensee | Augmentation of transformer capacity at 400/220 KV Mandola substation by replacing 315 MVA, 400/220 KV ICT-II with 500 MVA 400/220 KV ICT-II under NRSS-XXXII | 2016-10-16
24 | POWERGRID | Deemed Licensee | -300/+400 MVAR SVC alongwith associated bays at Kankroli under Static VAR Compensators (SVC's) in NR | 2016-12-25
25 | POWERGRID | Deemed Licensee | 125 MVAR Bus Reactor at 400/220 KV Bassi Substation alongwith associated bays under Bus Reactors in Northern Region (Phase-II) | 2016-10-01
26 | POWERGRID | Deemed Licensee | 125 MVAR Bus Reactor -II alongwith associated bays at Sonipat under Bus Reactor Scheme in Northern Region, Phase-II | 2016-12-24
27 | POWERGRID | Deemed Licensee | 125 MVAR Bus Reactor-II alongwith associated bays at Jaipur (South) S/Stn under Bus Reactor scheme in Northern Region -Phase-II | 2017-01-01
28 | POWERGRID | Deemed Licensee | One circuit of 400KV Dehradun –Bagpat Line alongwith associated bays at Dehradun and Bagpat Substation under NRSS XVIII. | 2017-01-31
29 | POWERGRID | Deemed Licensee | 400KV Dehradun- Roorkee line alongwith associated bays at Dehradun substation (Part of second circuit of 400KV D/C Dehradun-Bagpat line) under NRSS XVIII. | 2017-01-31
30 | POWERGRID | Deemed Licensee | 400 KV Saharanpur- Bagpat line alongwith associated bay at Bagpat ( Part of one ckt. of 400KV D/C Roorkee-Saharanpur line) under NRSS XVIII. | 2017-01-31
31 | POWERGRID | Deemed Licensee | 315 MVA 400/220 KV ICT-I at Dehradun Substation alongwith associated bays and one no. 220KV line bay ( Jhajra-I) under NRSS-XVIII. | 2017-02-03
32 | POWERGRID | Deemed Licensee | 315 MVA 400/220KV ICT-II at Dehradun substation alongwith associated bays and one no. 220 KV line bay (Jhajra-II) under NRSS-XVIII . | 2017-02-03
33 | POWERGRID | Deemed Licensee | 80MVAR Bus Reactor alongwith associated bay at Dehradun substation under NRSS-XVIII. | 2017-02-03
34 | POWERGRID | Deemed Licensee | 04 Nos. 220 KV Line Bays at Dehradun Substation under NRSS XVIII. | 2017-02-04
35 | POWERGRID | Deemed Licensee | 400 KV D/C Sikar- Jaipur (Bassi) line alongwith associated bays at Sikar S/Stn. and Bassi S/Stn under System Strengthening in NR for Sasan and Mundra UMPP | 2017-02-16
36 | POWERGRID | Deemed Licensee | Extension of Samba (400/220 kV, 315 MVA ICT alongwith associated bays) Substation under Augmentation of Transformers in Northern Region - Part B | 2016-10-29
37 | POWERGRID | Deemed Licensee | -400/+600 MVAR SVC at Ludhiana (PG) and associated main bay under "Static VAR Compensators (SVCs) in Northern Region" | 2016-11-30
38 | POWERGRID | Deemed Licensee | Extension of 400/220 kV Dehar Substation (BBMB) - 63 MVAR Bus Reactor-I alongwith associated GIS bay under Strengthening Scheme in Northern Region. | 2016-12-14
39 | POWERGRID | Deemed Licensee | 400 kV, 125 MVAR Bus Reactor at 400/220kV Panchkula Substation alongwith associated bay under Bus Reactors in NR (Phase -II) | 2016-10-23
40 | POWERGRID | Deemed Licensee | 400 kV, 125 MVAR Bus Reactor at 400/220 kV Kaithal Substation under Bus Reactors in NR (Phase -II) | 2016-10-29
41 | POWERGRID | Deemed Licensee | 400/220 kV Malerkotla GIS Substation Extension -04 No. 400 kV GIS Line bays under "Provision of 400 kV bays for lines under NRSS XXXI(Part-B)" | 2016-12-01
42 | POWERGRID | Deemed Licensee | 400/220 kV Amritsar Substation Extension -02 No.s 400 kV line Bays under "Provision of 400 kV bays for lines under NRSS XXXI(Part-B)" | 2016-12-01
43 | POWERGRID | Deemed Licensee | 400/220kV Jalandhar substation Extension -02 No. 400 kV Line bays under "Provision of 400 kV bays for lines under NRSS XXXI(Part-B)" | 2016-12-11
44 | POWERGRID | Deemed Licensee | 400/220kV Samba substation Extension -02 No. 400 kV Line bays under "Provision of 400 kV bays for lines under NRSS XXXI(Part-B)" | 2016-12-11
45 | POWERGRID | Deemed Licensee | 2 Nos 400 KV Malerkotla Bays at 400/220 KV GIS S/s at Kurukshetra under Transmission System Strengthening in WR-NR Transmission Corridor for IPPs in Chattisgarh. | 2016-12-01
46 | POWERGRID | Deemed Licensee | LILO of 400 kV Amritsar - Hamirpur line at Jalandhar (one circuit of Parbati pooling station - Amritsar line) along with associated bays under NRSS XXXIV. | 2017-02-14
47 | POWERGRID | Deemed Licensee | 1X125 MVAR, 400kV Bus reactor at 765/400kV Varanasi S/S under Transmission System for Phase-I Generation Projects in Jharkhand & West Bengal - Part B | 2016-10-01
48 | POWERGRID | Deemed Licensee | 400 KV(Quad) Varanasi(PG) – Sarnath(UP) TL- I & II under Transmission system for Phase-I Generation Projects in Jharkhand & West Bengal-Part B | 2016-10-22
49 | POWERGRID | Deemed Licensee | 1X125 MVAR, 420 kV Bus Reactor at 400/220kV Kanpur substation under Bus Reactor scheme in Northern Region (Phase-II) | 2016-12-31
50 | POWERGRID | Deemed Licensee | Converting 2X80 MVAR Line Reactors at Gorakhpur end of Barh (PG) - Gorakhpur (PG) 400kV Quad D/C line to 2X80 MVAR (Switchable) Line Reactors under Eastern Region Strengthening Scheme IX. | 2017-02-09
51 | POWERGRID | Deemed Licensee | Expansion and upgradation of existing SCADA/EMS System at SLDCs of Northern Region constituents for Srinagar portion of J&K PDD and shifting works of Lucknow UPPTCL under Expansion and upgradation of existing SCADA/EMS System at SLDCs of Northern Region. | 2016-11-30
52 | POWERGRID | Deemed Licensee | (i) Meja (NTPC) - Allahabad (POWERGRID) 400kV D/C TL and (ii) Extension of 400/220 kV Allahabad Substation (POWERGRID) -2 No. of 400 kV line bays under Transmission System associated with Meja TPS. | 2016-11-10
53 | POWERGRID | Deemed Licensee | • LILO of Gazuwaka- Vijayawada 400 kV S/C line at Vemagiri Pooling Station along with associated bays • 765/400 kV GIS Pooling Station at Vemagiri with 1x1500 MVA 765/400kV Transformer • 2 nos. 765kV bays each at Vemagiri Pooling Station and Srikakulam Pooling Station • 2 nos. 240 MVAR 765kV Bus Reactor at Vemagiri Pooling Station • 1 no. 80 MVAR 400kV Bus Reactor at Vemagiri Pooling Station • 1 no. 240 MVAR switchable line reactor each at Vemagiri & Srikakulam Pooling Stations each for both circuits of Srikakulam PS- Vemagiri PS 765 kV D/C line under Substation works associated with system strengthening in Southern Region for Import of power from Eastern Region. | 2017-02-01
54 | POWERGRID | Deemed Licensee | • 765/400 kV Substation at Srikakulam • 765kV Bay Extensions at Angul and Srikakulam Substations along with 2X240 MVAR switchable line reactors each at Angul S/s and Srikakulam S/s • 1x330 MVAR 765kV Bus Reactor at Srikakulam Substation under Common System associated with East Coast energy Pvt Ltd & NCC power projects Ltd LTOA generation projects in Srikakulam area Part-A & Part-C. | 2017-02-01
55 | POWERGRID | Deemed Licensee | • 1x125 MVAR, 400 kV Bus Reactor- 3 along with associated bays and equipment at Vijayawada S/s • 1 no. 400/220 kV 500 MVA ICT-3 along with associated bays and equipment at Hyderabad S/s • 1 no. 400/220 kV 500 MVA ICT-3 along with associated bays and equipment at Vijayawada S/s under System Strengthening in Southern Region XX | 2017-03-27
56 | POWERGRID | Deemed Licensee | • 1x125 MVAR 400 kV Bus Reactor-2 along with reactor bay and equipment at Gooty Substation • 1x125 MVAR 400 kV Bus Reactor-2 along with reactor bay and equipment at Khammam Substation • 1x125 MVAR 400 kV Bus Reactor-2 along with reactor bay and equipment at Nellore (existing) Substation • 1x125 MVAR 400 kV Bus Reactor-2 along with reactor bay and equipment at Nagarjunsagar Substation • 1x63 MVAR switchable line reactor at Nellore PS for 400 kV Gooty – Nellore PS-I • 1x63 MVAR switchable line reactor at Nellore PS for 400 kV Gooty – Nellore PS-II under System Strengthening in Southern Region – XXIII. | 2017-03-28
57 | POWERGRID | Deemed Licensee | 1 no. 765/400 kV, 1500 MVA ICT-II along with associated bays and equipment at Vemagiri S/s under Substation works associated with system strengthening in Southern Region for import of power from Eastern Region. | 2017-03-31
58 | POWERGRID | Deemed Licensee | 2 no.s 400kV bays each at Nagapattinam pooling station and Salem New (Dharmapuri) for terminating Nagapattinam Pooling station- Salem New (Dharmapuri) 765 kV D/C line (Initially charged at 400kV) being implemented under tariff based bidding and 1 no. 63MVAR line reactor at Nagapattinam pooling station and Salem New (Dharmapuri) each for both circuits of Nagapattinam Pooling Station- Salem New(Dharmapuri) 765kV D/C Line (Initially charged at 400 KV) under Common Transmission Scheme associated with ISGS Projects in Nagapattinam/Cuddalore area of Tamil Nadu Part- A1(b) in Southern Region | 2016-10-23
59 | POWERGRID | Deemed Licensee | Tuticorin Pooling Station – Salem Pooling Station 765kV D/C line (initially charged at 400kV) along with Bay extensions at Salem Pooling Station and Tuticorin Pooling Station and 80 MVAR Line Reactors at each end of both circuits of Tuticorin Pooling Station – Salem Pooling Station 765kV D/C line (initially charged at 400kV) under "Transmission system associated with Coastal Energen Private Limited & Ind-Barath Power (Madras) Limited LTOA Generation Projects in Tuticorin Area-Part B" | 2016-11-13
60 | POWERGRID | Deemed Licensee | 400kV Salem Pooling Station (Dharmapuri)- Salem 400kV D/C Quad line along with new 765/400kV Pooling station at Salem (Dharmapuri) (initially charged at 400kV) and Bay Extensions at Salem 400/220kV existing Substation under "Transmission System associated associated with Coastal Energen Private Limited & Ind-Bharat Power (Madras) Limited LTOA Generation Projects in Tuticorin Area- Part-B" | 2016-10-23
61 | POWERGRID | Deemed Licensee | 1 X 125 MVAR 400kV Bus reactor along with associated bay and equipments at Hassan 400/220kV Substation under System strengthening in Southern Region- XXIII | 2016-12-18
62 | POWERGRID | Deemed Licensee | Bunching of Tirunelveli- Edamon section of the Tirunelveli- Muvathapuzha (Cochin) 400kV quad D/c line initially (and temporarily) at 220kV with existing Tirunelveli- Edamon 400kV twin D/C line (400kV line charged at 220kV) under Transmission System associated with Kudankulam Atomic Power Project (2X1000MW) in Southern Region | 2016-12-23
63 | POWERGRID | Deemed Licensee | 1X125MVAR 400kV Bus Reactor along with associated bay and equipments at Narendra(New, Kudigi) Sub Station under System strengthening in Southern Region-XXIII | 2016-12-30
64 | POWERGRID | Deemed Licensee | 400/220kV, 1X500MVA transformer along with associated bay and equipments at Madurai Substation under system strengthening in Southern Region-XXIII | 2016-12-31
65 | POWERGRID | Deemed Licensee | Replacement of 1X50 MVAR bus reactor with 1X125 MVAR bus reactor at 400/220 kV Narendra substation. (The replaced bus reactor shall be maintained as a regional spare) under System strengthening in Southern Region -XXIII | 2017-01-25
66 | POWERGRID | Deemed Licensee | 1x125MVAR 400KV Bus reactor at Trivandrum along with associated bays and equipments under System strengthening in Southern Region -XXIII. | 2017-01-26
67 | POWERGRID | Deemed Licensee | Replacement of 3X 167MVA, 400/220KV ICTs with 1 X 500MVA ICT at Somanhalli SS (The replaced ICTs shall be maintained as a regional spare) under System strengthening in Southern Region -XXIII | 2017-03-16
68 | POWERGRID | Deemed Licensee | 01 No. 500 MVA, 765/400kV Regional spare ICT at Thiruvalam Substation under System strengthening in Southern Region -XXIII. | 2017-03-28
69 | POWERGRID | Deemed Licensee | Conversion of 50MVAR line reactors at Madakathara end on both circuits of Ellapally (Palakkad) – Madakathara (North Thrissur) 400kV D/C line into switchable reactors by providing necessary switching arrangement under System strengthening XX in South Regional Grid | 2017-03-28
70 | POWERGRID | Deemed Licensee | OPGW communication links along with associated Communication Equipment: (i) Kaiga-Narendra, (ii) Kaiga-Guttur, (iii) MAPS, Kalpakkam-SP Koil, (iv) Mysore-Kozhikode (v) Bhavini-Siruchery (vi) Neyveli TS-II -Kadalangudi (vii) Neyveli TS II -Neyveli TS I, (viii) Villianur-Bahour, (ix) Alamathy (TNEB)-Vallur, (x) LILO of Sriperumbadur-Nellore to Alamathy (xi) Mysore -Hootagally (KPTCL), (xii) Tuticorin PS -Dharmapuri (upto crossing of Madurai-Tirunalveli), (xiii) Kalivindapattu -Siruchery (POWERGRID Telecom link availed by ULDC on Fibre sharing) under the project "Fibre Optic Communication system for Central Sector Sub-Stations and Generating Stations in Southern Region." | 2017-03-30
71 | POWERGRID | Deemed Licensee | 1 x 500 MVA, 400/220/33kV ICT along with associated bay and equipments at Pugalur Substation under System Strengthening XX in South Regional Grid. | 2017-03-31
72 | POWERGRID | Deemed Licensee | Replacement of 4X 167MVA, 400/220KV ICTs with 1 X 500MVA ICT at Somanhalli SS (The replaced ICTs shall be maintained as a regional spare) under System strengthening in Southern Region -XXIII | 2017-03-31
73 | POWERGRID | Deemed Licensee | (i) 1500 MVA, 765kV/400kV Auto Transformer-5 and associated bays at Champa Pooling station & (ii)1500 MVA, 765kV/400kV Auto Transformer-6 and associated bays at Champa Pooling station under "Establishment of Pooling Stations at Champa and Raigarh (near Tamnar) for IPP Generation Projects in Chhattisgarh" | 2016-10-02
74 | POWERGRID | Deemed Licensee | (i) 1500 MVA, 765kV/400kV Auto Transformer-3 and associated bays at Champa Pooling station & (ii)1500 MVA, 765kV/400kV Auto Transformer-4 and associated bays at Champa Pooling station under "Establishment of Pooling Stations at Champa and Raigarh (near Tamnar) for IPP Generation Projects in Chhattisgarh" | 2016-12-19
75 | POWERGRID | Deemed Licensee | (i) Line bay of 765 kV Champa-Dharamjaygarh S/C Line at Champa Pooling station & (ii) Line bay of 765 kV Champa-Raipur PS #2 D/C Line at Champa Pooling station under "Establishment of Pooling Stations at Champa and Raigarh (near Tamnar) for IPP Generation Projects in Chhattisgarh" | 2016-12-25
76 | POWERGRID | Deemed Licensee | Various Fibre Optic Communication links along with communication equipments, installed and commissioned under Package " Communication Equipment Package (Package-III) for Establishment of Fibre Optic Communication System under Master Communication Plan in WR" : (i) Raipur Pooling-Raipur (existing), (ii) Raigarh(Kotra)-Raigarh(existing), (iii) Raigarh (Tamnar)-Raigarh(Kotra), (iv) Champa-Dharamjaygarh, (v) Korba STPP-Repeater-VSTPP, (vi) Raipur 400-Repeater-Korba STPP, (vii) Raigarh (existing)-Raipur(existing), (viii) Korba STPP-Korba(W), (ix) Korba (W) -kjorba (E), (x) Bhadrawati-Rep(1)-Rep(2)-Raipur, (xi) Boisar -Vapi, (xii) Bhillai 400-Raipur 400, (xiii) Bhillai 400-Bhillai 220, (xiv) Bhillai 400-Urla 220, (xv) Urla-Dangania SLDC, (xvi) CG Remote Terminal, (xvii) Raigarh (Kotra)-Champa, (xviii) WRLDC-Kalwa, (xix) Kalwa-Pune, (xx) Sipat-Bilaspur, (xxi) Raipur-Sipat, (xxii) Mapusa-Kolhapur(PG), (xxiii) Bhadrawati-Repeater-Parli, (xxiv) Parli-Solapur, (xxv) Solapur-Repeater-Pune 765, (xxvi) Pune 765-Pune 400, (xxvii) Seoni-Pandurna Repeater | 2016-10-21
77 | POWERGRID | Deemed Licensee | Raipur Pooling station-Wardha 765kV D/C 2nd line alongwith bay extension at 765kV Raipur Pooling station & Wardha S/s under System Strengthening in Raipur-Wardha Corridor for IPP projects in Chhattisgarh. | 2017-03-31
78 | POWERGRID | Deemed Licensee | 400 kV, 63 MVAR Switchable Line Reactor alongwith associated bay at 400/220 kV Rajgarh Substation for 400 kV D/C Rajgarh-Sardar Sarovar Line Ckt-2 under Installation of Bus Reactor and ICT in Western Region. | 2016-10-23
79 | POWERGRID | Deemed Licensee | 400 kV, 63 MVAR Switchable Line Reactor alongwith associated bay at 400/220 kV Rajgarh Substation for 400 kV D/C Rajgarh-Sardar Sarovar Line Ckt-1 under Installation of Bus Reactor and ICT in Western Region. | 2016-10-20
80 | POWERGRID | Deemed Licensee | Part of 400 kV D/C Navasari Boisar T/L from 45A/0 to 69/0 (D/C portion strung on M/C Twin-Twin portion comprising of 400 kV D/C Navasari-Boisar and 400 kV Vapi-Kudus), part of 400 kV D/C Navasari-Boisar T/L from 69/0 to 313/0 and part of 400 kV D/C Navasari-Boisar from 313/0 to 332/0 (D/C portion strung on M/C Twin-Quad portion comprising of 400 kV D/C Navasari-Boisar and 400 kV D/C Aurangabad-Boisar) alongwith associated bays at Boisar S/s under "Transmission System associated with Mundra Ultra Mega Power Project (UMPP)" | 2016-12-31
81 | POWERGRID | Deemed Licensee | Part of 400 kV D/C Navasari-Boisar T/L from location 332/0 to Boisar S/s (D/C portion strung on M/C Twin-Quad portion comprising of 400 kV D/C Navasari-Boisar and 400 kV D/C Aurangabad-Boisar) under Transmission system Strengthening in Western Part of WR for IPP generation Projects in Chhattisgarh | 2016-12-31
82 | POWERGRID | Deemed Licensee | 400/220 kV, 500 MVA ICT3 at Damoh substation with associated bays under Installation of Bus Reactor and ICT in Western Region. | 2016-11-18
83 | POWERGRID | Deemed Licensee | 400 kV D/C Indore-Khandwa ckt 1& 2 transmission line along with 2*80 MVAr switchable Line reactors at Indore end and associated bays under Transmission System Associated with Mauda stage-II (2x660 MW) generation project. | 2017-01-01
84 | POWERGRID | Deemed Licensee | 500 MVA, 400/220/33 kV ICT 1 & 2 at Vadodara GIS along with associated bays under Installation of Bus Reactor and ICT in Western Region. | 2017-03-24
85 | POWERGRID | Deemed Licensee | Pole 1 (1500 MW) of ±800 kV, 3000 MW Champa and Kurukshetra HVDC terminals with ±800 kV Champa-Kurukshetra HVDC Transmission Lines under "WR-NR HVDC Interconnector for IPP projects in Chhattisgarh" | 2017-03-24
86 | POWERGRID | Deemed Licensee | (i) SCADA/EMS system upgradation of Main and backup SLDCs & SUB-LDCs of Gujarat (GETCO) (ii) SCADA/EMS system upgradation of Main and backup SLDCs & SUB-LDCs of Madhya Pradesh (MPPTCL) (iii) SCADA/EMS system upgradation of SLDCs of Dadra and Nagar Haveli (DNH) (iv) SCADA/EMS system upgradation of SLDCs of Diu and Daman (DDED) under "Expansion and upgradation of SCADA/EMS System at SLDCs of Western Region" | 2016-10-01
87 | POWERGRID | Deemed Licensee | (i) SCADA/EMS system for Main & Backup SLDC of Chhattisgarh (CSPTCL) (ii) SCADA/EMS System for Main & Backup SLDC of Goa Electricity Dept. (GED) under Replacement/Up-gradation of existing SCADA/EMS system at WRLDC & SLDCs of Western Region | 2016-10-01
88 | POWERGRID | Deemed Licensee | SLDC setup of Manipur at Yurembam, Imphal (Manipur) under Expansion/ upgradation of existing SCADA/EMS system of NERLDC& SLDCs of North-Eastern Region | 2016-11-09
89 | Darbhanga Motihari Transmision Company Ltd | ISTS Licensee | 400 kV D/C Triple Snowbird Muzaffarpur(PG)-Darbhanga Transmission Line | 31-03-17 (Deemed COD)
90 | Darbhanga Motihari Transmision Company Ltd | ISTS Licensee | 2x500 MVA, 400/220 kV GIS Substation at Dharbanga | 31-03-17 (Deemed COD)
91 | NRSS XXXI(B) Transmission Limited | ISTS Licensee | 400 kV D/C Kurukshetra-Malerkotla Transmission Line | 2017-01-18
92 | NRSS XXXI(B) Transmission Limited | ISTS Licensee | 400 kV D/C Malerkotla - Amritsar Transmission Line | 27-03-17 (Deemed COD)
93 | Teesta Valley Power Transmission Limited | ISTS Licensee | 400 kV Teesta III -Rangpo T/L (From POWERGRID LILO point to Gantry Tower at Teesta III) | 2017-01-17
94 | POWERGRID Vizag Transmission Ltd | ISTS Licensee | Srikakulam Vemagiri 765 kV D/C Transmission Line * Date of commencement of receipt of transmission charges is 01.02.2017 as per PVTL letter dtd 01.02.2017 | 07-10-16* (Deemed COD)
95 | POWERGRID NM Transmission Ltd | ISTS Licensee | Nagapattinam Pooling station -Salem 765 kV D/C line (initially charged at 400 kV) | 2016-10-23
96 | POWERGRID Warora Transmission Limited | ISTS Licensee | LILO of existing Seoni-Bina 765 kV S/C line at Gadarwara STPP | 30-11-16 (Deemed COD)
97 | POWERGRID Unchahar Transmission Limited | ISTS Licensee | Unchahar-Fatehpur 400kV D/C line | 01-10-16 (Deemed COD)
98 | Patran Transmission Company limited | ISTS Licensee | (i) 2x500 MVA, 400/220kV substation at Patran, (ii) LILO of both circuits of Patiala - Kaithal 400 kV D/C at Patran * PTCL vide their letter dtd 22.06.2016 notified DOCO as 21.06.2016, however CERC vide order dtd 04.01.2017 in Petition no. 155/MP/2016 didnot allow PTCL to recover transmission charges prior to SCOD of 11.11.2016. | 11-11-2016* (SCOD)
Note: Apart from the above assets, there are some STU assets which were certified by respective RPCs as deemed ISTS elements.