## Final
Details of ISTS assets commissioned and under commercial operation (DOCO) during 01.04.2017 to 30.09.2017
S.No. | ISTS Licensee | Owner Category | Description of Assets | DOCO/ Deemed COD
1 | POWERGRID | Deemed Licensee | 220 KV Line Bays at 400/220 KV Bagpat substation a) 02 no. (205 and 210) Bays under NRSS XIX * Notified on 28.11.2017 | 03/07/2016*
2 | POWERGRID | Deemed Licensee | 220 KV Line Bays at 400/220 KV Bagpat substation a) 01 no. (206) Bay under NRSS XIX * Notifeied on 28.11.2017 | 20/08/2016*
3 | POWERGRID | Deemed Licensee | 2Nos. 220kV Line Bays No 206 & 207 of Shahjahanpur(PG)-shahjahanpur (UPPTCL) at 400/220kV Shahjahanpur Sub-station under Northern Region Transmission System Strenghtening Scheme (NRTSS) * Notifeied on 05.10.2017 | 03/11/2016*
4 | POWERGRID | Deemed Licensee | 220 KV Line Bays at 400/220 KV Bagpat substation a) 02 no. (207 and 212) Bays under NRSS XIX * Notifeied on 28.11.2017 | 26/01/2017*
5 | POWERGRID | Deemed Licensee | 04 Nos. 220 KV Line Bays at Dehradun Substation under NRSS- XVIII * Notifeied on 04.05.2017 | 04/02/2017*
6 | POWERGRID | Deemed Licensee | 2Nos. 220kV Line Bays No. 208 & 209 (Barabanki-I&II of UPPTCL) at 400/220kV Sohawal Sub-station under Northern Region Transmission System Strenghtening Scheme (NRTSS) * Notifeied on 01.11.2017 | 12/02/2017*
7 | POWERGRID | Deemed Licensee | 2 No.s 220 kV Line bays of 220 kV Sohawal (PG) - Sohawal (UP) TL at 400/220 kV Sohawal (PG) S/s under NRTSS * Notifeied on 01.06.2017 | 05/03/2017*
8 | POWERGRID | Deemed Licensee | 1500MVA 765/400kV Transformer(ICT-4) and associated bays at 765/400kV Raigarh Pooling Station(Tamnar) under Installation of Bus Reactor & ICT in Western Region | 2017-04-01
9 | POWERGRID | Deemed Licensee | 1500MVA 765/400kV Transformer (ICT-2) and associated bays at 765/400kV Raipur Pooling station under Installation of Bus Reactor & ICT in Western Region | 2017-04-01
10 | POWERGRID | Deemed Licensee | Conversion of existing Line Reactor at Gwalior end of Satna - Gwalior ckt 1 TL (to be LILOed at Orai) into Switchable Line Reactor under Inter-Regional System Strengthening Scheme for WR and NR - Part-B | 2017-04-01
11 | POWERGRID | Deemed Licensee | LILO of 400KV S/C Dadri-Malerkotla at Kaithal alongwith associated bays & 400kV 50 MVAR Line Reactor under NRSS-XXXII | 2017-04-01
12 | POWERGRID | Deemed Licensee | 1x125 MVAR, 400 kV Bus Reactor-4 along with associated bays and equipment at Vijayawada S/s under System Strengthening in Southern Region –XX | 2017-04-02
13 | POWERGRID | Deemed Licensee | 2 No.s 400KV Line bays at Bidadi for Madhugiri(Tumkur) - Bidadi 400KV D/c (Quad) line under Sub Station Extension works associated with transmission system required for evacuation of power from Kudigi TPS (3 X 800MW in Phase –I ) of NTPC Limited | 2017-04-03
14 | POWERGRID | Deemed Licensee | Main SCADA EMS system of SLDC of Mizoram under Expansionl/Upgradation of SCADA/ EMS System of SLDCs of North Eastern Region | 2017-04-10
15 | POWERGRID | Deemed Licensee | 3X110, MVAR Bur Reactor-I at 765/400 kV Varanasi GIS Substation (Reactor Shifted from Sasaram S/S) under Transmission System for Phase I generation Projects in Jharkhand and West Bengal Part- A2 | 2017-04-19
16 | POWERGRID | Deemed Licensee | (i) 765kV Wardha – Nizamabad D/C line along with 3 x 80 MVAR switchable line reactors in each circuit at both ends. (ii) 765/400 kV GIS Substation at Nizamabad with 2 x 1500 MVA Transformers at Nizamabad. (iii) 1 x 240 MVAR 765 kV Bus Reactor at Nizamabad 765/400 kV GIS Substation. (iv) 400 kV Nizamabad – Dichpally D/C line along with bay extensions at Dichpally and Nizamabad Under Wardha- Hyderabad 765 KV Link | 2017-04-24
17 | POWERGRID | Deemed Licensee | 2 Nos 220 kv Line Bays at Bhinmal S/s under NRSS XXXIV | 2017-04-25
18 | POWERGRID | Deemed Licensee | Darlipali TPS(NTPC)-Jharsuguda(Sundargarh) Pooling station 765kV Double Circuit Transmission Line along-with 02nos 765kV Bays at Jharsuguda (Sundragarh)Pooling station under Transmission System assocaiated with Darlipali TPS | 2017-04-26
19 | POWERGRID | Deemed Licensee | i) 1 no 80 MVAR Bus Reactor and associated 400kV bay at Gokrana ii) 1 no 80 MVAR Switchable line Reactor and associated 400kV bay at Farakka under Eastern Region System Strengthening Scheme ERSS-V | 2017-04-30
20 | POWERGRID | Deemed Licensee | One No. single phase 765/400 KV ICT of 500 MVA capacity as a spare ICT at 765/400 KV Agra S/s under Spare 765/400 KV Transformers for Northern Region | 2017-05-01
21 | POWERGRID | Deemed Licensee | 2 Nos. 220 KV Line Bays (Vatika-I & Vatika-II) at 400/220 KV Jaipur (South) S/s under NRTSS | 2017-05-14
22 | POWERGRID | Deemed Licensee | Split Bus arrangement with tie line breaker for 400 KV Biharsharif S/s under Split bus Arrangement for Various substations in Eastern Region | 2017-05-15
23 | POWERGRID | Deemed Licensee | 4 nos. 220 kV line bays (for downstream system of GETCO ) at 765/400/220 kV Vadodara GIS under Installation of Bus Reactor and ICT in Western Region | 2017-05-20
24 | POWERGRID | Deemed Licensee | 2 nos. of 765kV line bays at Jabalpur Pooling Station (for Gadarwada STPS (NTPC) – Jabalpur Pooling Station 765kV D/C line (TBCB route)) under POWERGRID works associated with Part-A of Transmission System for Gadarwada STPS of NTPC | 2017-05-31
25 | POWERGRID | Deemed Licensee | 400kV Lucknow Kanpur (new) D/C TL along with associated bays at both ends under NRSS-XXXII | 2017-06-01
26 | POWERGRID | Deemed Licensee | +/- 100MVAR STATCOM at NP Kunta Pooling Station along with associated bays and equipment under Transmission system for Ultra Mega Solar Park in Anantapur Dist, Andhra Pradesh – Part- A (Phase-I) | 2017-06-04
27 | POWERGRID | Deemed Licensee | Augmentation of transformer capacity at 400/220 KV Ballabhgarh substation by installing 500MVA ICT-III at Ballabhgarh S/S under NRSS-XXXII | 2017-06-05
28 | POWERGRID | Deemed Licensee | 1 x 500 MVA, 400/220/33kV ICT at Trichy Substation along with associated bays and equipments under System strengthening in Southern Region -XX | 2017-06-10
29 | POWERGRID | Deemed Licensee | i) 132kV S/C (on D/C towers) Pasighat-Roing TL alongwith associated bays at Pasighat and Roing S/s ii) 3X5MVA, 132/33kV, 1-Ph ICT-I alongwith associated bays at Roing Substation iii) 4x5MVA, 132/33kV, 1-Ph ICT II (1 No. spare ) alongwith associated bays at Roing Substation iv) 4x6.67MVAR, 145kV, 1-Ph Bus Reactor (1 No. spare) alongwith associated bays at Roing Substation Under Transmission system associated with Pallatana Gas Based Power Project and Bongaigaon Thermal Power station | 2017-06-12
30 | POWERGRID | Deemed Licensee | i) 132 KV S/C (on D/C tower) Roing-Tezu TL along with associated bays at Roing and Tezu S/s and ii) 4X6.67 MVAR 145 KV, 1Ph Bus Reactor ( 1 No. spare) alongwith associated bay at Tezu S/s under Transmission system associated with Pallatana Gas Based Power Project and Bongaigaon Thermal Power station | 2017-06-14
31 | POWERGRID | Deemed Licensee | 315 MVA,400/220 kV ICT II and associated bays at 400/220 kV Agra Sub-station under NRSSXXXIV | 2017-06-26
32 | POWERGRID | Deemed Licensee | 315 MVA, 400/220 KV ICT-II and associated bays at 400/220 kV Agra Sub-station under NRSSXXXIV | 2017-06-26
33 | POWERGRID | Deemed Licensee | i) 400 kV D/C Kakrapar APP-Vapi line along with associated bays at Vapi SS ii)400 kV D/C Kakrapar APP-Navsari line along with associated bays at Navsari SS Under Transmission system associated with KAPP-3&4 | 2017-06-29
34 | POWERGRID | Deemed Licensee | 1) i) Kalyeneshwari-Kalipahari ii) LILO at Raghunathpur iii) Koderma TPS-Koderma 400/220 S/s iv) BTPS A- BTPS B v) Ramgarh 220 - Ramgarh 132 2) i) LILO at Liluah-Rishra ii) Saltlake S/s to Abhikshan Bhawan(UGFO) iii) Vidyut Bhawan to Saltlake GIS(UGFO) iv) Bidhannagar 400- Bidhannagar 220 3) i) Mancheswar-Bhubaneswar SLOC ii) Bhubaneshwar SLOC-Vidyut Bhawan(Last Mile) 4) i) Jakkanpur-SLDC Patna(UGFO) 5) i) ERLDC-Kasba(UGFO) under Fibre Optic Communication system in lieu of existing Unified Load Despatch & Communoication(ULDC) Microwave links in Eastern Region | 2017-07-01
35 | POWERGRID | Deemed Licensee | 1) (b) Integration of RTUs to Main & Backup Control Centre f) RTU under Expansion & Upgradation of SCADA/EMS System at SLDCs of ER (BSPTCL) 2) (b) Integration of RTUs to Main & Backup Control Centre f) RTU under Expansion & Upgradation of SCADA/EMS System at SLDCs of ER (DVC) 3) (b) Integration of RTUs to Main & Backup Control Centre f) RTU under Expansion & Upgradation of SCADA/EMS System at SLDCs of ER (JUSNL) 4) (b) Integration of RTUs to Main & Backup Control Centre f) RTU under Expansion & Upgradation of SCADA/EMS System at SLDCs of ER (Sikkim) | 2017-07-01
36 | POWERGRID | Deemed Licensee | Augmentation of transformer capacity at 400/220 KV Ballabhgarh substation by installing 500 MVA ICT-IV under Northern Region System Strengthening Scheme- XXXII | 2017-07-03
37 | POWERGRID | Deemed Licensee | Lara STPS-I-Champa 400kV D/C (Quad) Line alongwith associated bays at Champa Pooling Station(POWERGRID) under Transmission system associated with Lara STPS-I (2X800MW) | 2017-07-21
38 | POWERGRID | Deemed Licensee | 125MVAR Bus Reactor at Koteshwar Substation (THDC) under Strengthening Scheme in Northern Region | 2017-07-22
39 | POWERGRID | Deemed Licensee | 01 No. 200 MV A, 400/132/33 kV, 3-Phase Spare ICT at 400kV Silchar Substation under North Eastern Region Strengthening Scheme-VII (NERSS-VII) | 2017-07-24
40 | POWERGRID | Deemed Licensee | 2 nos 400kV line bays at Purulai PPSP (New) of West Bengal under Eastern Region System Strengthening Scheme-VII | 2017-07-26
41 | POWERGRID | Deemed Licensee | 1X63MVAR, 400kV Bus Reactor-I at 400/220kV Sohawal Sub-station under Northern Region Transmission System Strenghtening Scheme (NRTSS) | 2017-07-29
42 | POWERGRID | Deemed Licensee | 1x1500 MVA, 765/400 kV ICT (ICT # 3) along with associated bays at Vindhyachal Pooling Station under Substation extensions for Transmission System associated with Vindhyachal - V (500 MW) project of NTPC (Part-A) | 2017-07-31
43 | POWERGRID | Deemed Licensee | 400 kV D/C Kishenpur- New Wanpoh Transmission line alongwith associated bays at both ends under Northern Region System Strengthening scheme-XVI | 2017-07-31
44 | POWERGRID | Deemed Licensee | 2X80 MVAR, 400 kV Switchable Line Reactors for 400 kV D/C Agra- Sikar TL at Agra Substation under North East-Northern/Western Interconnector-I | 2017-08-01
45 | POWERGRID | Deemed Licensee | Installation of 2x125MVAR Bus Reactor and associated 400kV bays at Rengali Sub station under Eastern Region Strengthening Scheme-IX | 2017-08-03
46 | POWERGRID | Deemed Licensee | 400/220 KV, 500 MVA ICT-III alongwith associated bays at Gurgaon (GIS) substation under NRSS-XXXII | 2017-08-03
47 | POWERGRID | Deemed Licensee | 400KV D/C RAPP - KOTA transmission line alongwith associated bay at KOTA substation under Transmission system associated with RAPP 7 & 8 (NPCIL) Part A | 2017-08-03
48 | POWERGRID | Deemed Licensee | I.) 500 MVA, 400/220 kV ICT (ICT # II) along with associated bays at Itarsi SS. II.) 2 nos. 220 kV line bays at Itarsi SS. Under Western Region System Strengthening Scheme – XIV | 2017-08-14
49 | POWERGRID | Deemed Licensee | i) 400kV D/C Mauda-II – Betul (Quad) line along with associated bays and 2x50 MVAR line reactors at Betul GIS. ii) 400kV D/C Betul – Khandwa (Quad) line along with associated bays at both ends and 2x50 MVAR switchable line reactors at Betul GIS & 2x50 MVAR line reactors at Khandwa SS. iii) 315 MVA, 400/220kV ICT # I and ICT # II along with associated bays and 04 Nos. 220kV line bays at Betul GIS. iv) 125 MVAR, 420kV Bus Reactor along with associated bay at Betul GIS. under Transmission System associated with Mauda Stage–II (2 x 660 MW) generation project | 2017-08-24
50 | POWERGRID | Deemed Licensee | i)400kV D/C Mouda-II -Betual (quad) line alongwith associated bays & 2x50MVAR line Reactors at Betul GIS. ii)400kV D/C Betual-Khandwa (quad) line alongwith associated bays at both ends & 2x50MVAR swithcable line reactors at Betual GIS & 2x50MVAR line Reactors at Khandwa S/s. iii)315MVA, 400/220kV ICT -I & ICT -II alongwith associated bays and 04nos.220kV line bays at Betul GIS. iv)125MVAR, 420kV Bus Reactor alongwith associated bays at Betul GIS under Transmission System Associated with Mouda Stage-II (2x660MW) generation project | 2017-08-24
51 | POWERGRID | Deemed Licensee | 2nos.765kV 3*80MVAR SwitchableLineReactor (for Aurangabad-Solapur D/C Line) & associated bays at 765/400kV Aurangabad Sub-station under Inter-Regional System Strengthening Scheme in WR & NR (Part -A) | 2017-08-25
52 | POWERGRID | Deemed Licensee | 400/220kV, 500 MVA ICT alongwith associated bays (no. 401 and no.205) at 400/220kV Mainpuri Substation under Augmentation of Transformation capacity at Mainpuri | 2017-08-31
53 | POWERGRID | Deemed Licensee | (i) 1x1500MVA Transformer-I along with associated bays and equipment at 765/400KV GIS at Hyderabad (Maheshwaram) (ii) 2 Nos. 240MVAR , 765KV Bus Reactors along with associated bays and equipment at Maheshwaram substation (iii) Hyderabad (Maheswaram) – Kurnool 400KV S/C Line along with associated bays and equipment at Maheshwaram Under Substation works associated with Hyderabad (Maheshwaram) Pooling Station | 2017-08-31
54 | POWERGRID | Deemed Licensee | (i) Nizamabad – Hyderabad (Maheswaram) 765 kV D/c Line (ii) 2 nos. 765kV Bays at Nizamabad for terminating Wardha – Hyderabad (Maheswaram) 765kV D/C line at Nizamabad (iii) 2 nos. 765KV bays for terminating Nizamabad- Hyderabad (Maheshwaram ) D/C line. (iv) 1no. 240MVAR switchable line reactor each at Hyderabad (Maheswaram) for both circuits of Nizamabad – Hyderabad (Maheswaram) 765 kV D/c Line (v) 1no. 240MVAR switchable line reactor each at Nizamabad for both circuits of Nizamabad – Hyderabad (Maheswaram) 765 kV D/c Line Under “Wardha- Hyderabad 765 KV Link” | 2017-08-31
55 | POWERGRID | Deemed Licensee | (i) 400 kV Maheshwaram- Hyderabad S/c line along with associated bays and equipment at Maheshwaram (iii) 765/400 kV, 1500 MVA ICT-II along with associated bays and equipment at Maheshwaram substation Under Sub-station works associated with Hyderabad (Maheshwaram) Pooling Station | 2017-09-06
56 | POWERGRID | Deemed Licensee | Installation of 1x250MVA, 400/220/33kV ICT -I at Bhadrawati HVDC Back-to-Back station under Installation of T ransformer &Procurement of Spare Converter T ransformer for Bhadrawati HVDC BTB Station | 2017-09-08
57 | POWERGRID | Deemed Licensee | Pole-II of 800 KV, Champa-Kurukshetra HVDC Terminals along with associated bays (1X1500 MW HVDV Terminals at Champa & Kurushetra each) under WR-NR HVDC Interconnector for IPP Project in Chhattisgarh | 2017-09-16
58 | POWERGRID | Deemed Licensee | LILO of 220kV D/C Birpara-Salakati Transmission line along-with associated bays under Transmission System for Development of Pooling Station in Northern Region Part of West Bengal and Transfer of Power from BHUTAN to NR/WR | 2017-09-21
59 | POWERGRID | Deemed Licensee | 315 MVA, 400/220/332kV ICT-2 along-with assocaited bays under Transmission System for Development of Pooling Station in Northern Region Part of West Bengal and Transfer of Power from BHUTAN to NR/WR | 2017-09-21
60 | POWERGRID | Deemed Licensee | LILO of 400kV D/C Binaguri (Siliguri)-Bongaigaon Transmission line (quad) along-with associated bays under Transmission System for Development of Pooling Station in Northern Region Part of West Bengal and Transfer of Power from BHUTAN to NR/WR | 2017-09-21
61 | POWERGRID | Deemed Licensee | 315 MVA, 400/220/332kV ICT-1 along-with assocaited bays under Transmission System for Development of Pooling Station in Northern Region Part of West Bengal and Transfer of Power from BHUTAN to NR/WR | 2017-09-21
62 | POWERGRID | Deemed Licensee | 125 MVAR Bus Reactor-1 (BR-1) along-with assocated bays under Transmission System for Development of Pooling Station in Northern Region Part of West Bengal and Transfer of Power from BHUTAN to NR/WR | 2017-09-21
63 | POWERGRID | Deemed Licensee | 125 MVAR Bus Reactor-2 (BR-2) along-with assocated bays | 2017-09-21
64 | POWERGRID | Deemed Licensee | 800kV Multi terminal HVDC Agra-Alipurduar-Biswanath Chariali Pole-3 at Agra & APD along-with associated bays under Transmission System for Development of Pooling Station in Northern Region Part of West Bengal and Transfer of Power from BHUTAN to NR/WR | 2017-09-21
65 | POWERGRID | Deemed Licensee | 800kV Multi terminal HVDC Agra-Alipurduar-Biswanath Chariali Pole-4 at Agra & APD along-with associated bays under Transmission System for Development of Pooling Station in Northern Region Part of West Bengal and Transfer of Power from BHUTAN to NR/WR | 2017-09-21
66 | POWERGRID | Deemed Licensee | 765kV 2x 330MVAR Switchable Line Reactors charged as Bus Reactors along with associated bays at Dharamjaigarh 765/400kV for 765 kV Jharsuguda-Dharamjaigarh Line-2 under Common System Associated with East Coast Energy Pvt Limited and NCC Power Projects limited LTOA Generation Projects in Srikakulam Area Part-B | 2017-09-21
67 | POWERGRID | Deemed Licensee | 1 no. 500 MVA Single Phase Spare unit of 765/400kV ICT(Cold Spare) for Eastern Region to be stationed at Angul Sub-station under Eastern Region Strengthening Scheme-XII | 2017-09-25
68 | POWERGRID | Deemed Licensee | 400 kV, 1x125 MVAR Bus Reactor at Gajuwaka (East bus) along with associated bays and equipment under Eastern Region Strengthening Scheme-IX (ERSS-IX) | 2017-09-27
69 | POWERGRID | Deemed Licensee | 02 Nos. 220KV Line bays ( 211 and 212) at 400/220KV Jaipur (South) Substation under Transmission system associated with NRTSS | 2017-09-28
70 | POWERGRID | Deemed Licensee | 400kV D/C Allahabad Kanpur (GIS) Line alon with associated bays at both ends including 2X50 MVAR Line Reactor at Kanpur (GIS) Under NRSS-XXX | 2017-09-28
71 | POWERGRID | Deemed Licensee | 02Nos. 220kV Line Bays No. 210 & 211 of Shajahanpur (PG)-Shajahanpur (UPPTCL) at 400/220kV Shajahanpur Sub-station under NRTSS * Notified on 12.06.2017 | 05/08/2016*
72 | POWERGRID | Deemed Licensee | 2 Nos. 220 kV line bays at Damoh SS (for 220 kV Damoh (PGCIL) - Sagar (MPPTCL) ckt # 2 TL and 220 kV Damoh (PGCIL) - Damoh (MPPTCL) ckt # 3 TL ) under Installation of Bus Reactor and ICT in Western Region | 2017-08-29
73 | TPTL | ISTS Licensee | 400 kV Teesta III -Dikchu T/L (Teesta III Switchyard to LILO tower of Dikchu) | 2017-04-14
74 | DMTCL | ISTS Licensee | i) LILO of both Ckts of Barh – Gorakhpur 400 kV D/C transmission line at Motihari, GIS Sub-station ii) 2x200 MVA, 400/132 kV GIS Substation at Motihari Under Eastern Region system Strenghtening Scheme-VI | 2017-08-10
Note: Apart from the above assets, there are some STU assets which were certified by respective RPCs as deemed ISTS elements.