## doco 01.10.13 to 01.01.14
POWER GRID CORPORATION OF INDIA LIMITED
Corporate Commercial Department
Corporate Office,
“Saudamini” Plot No.-2
Gurgaon-122001,Haryana
ANNEXURE - A
Details of ISTS commissioned and under commercial operation (DOCO) during 01.07.2014 to 31.12.2014
Sl.No. | ISTS Licensee | Owner Category | Description of Assets | D.O.C.O
1 | PGCIL | Deemed Licensee | One Ckt of 765KV D/C Rihand-III Vindhyachal Pooling Stn TL under "Transmission System Associated with Rihand-III and Vindhyachal IV Generation Project." | 06.07.2014
2 | PGCIL | Deemed Licensee | 400/220 KV 315 MVA ICT-II alongwith associated bays at New Wanpoh S/s under "NRSS XVI." | 03.07.2014
3 | PGCIL | Deemed Licensee | 500 MVA ICT-IV at Meerut S/s under Augmentation of Transformer in Northern Region part- A | 12.10.2014
4 | PGCIL | Deemed Licensee | 500 MVA ICT-III at Bassi S/s under Augmentation of Transformer in Northern Region part- A | 16.10.2014
5 | PGCIL | Deemed Licensee | 315 MVA ICT-III at Allahabad S/s under Augmentation of Transformer in Northern Region part- A | 02.11.2014
6 | PGCIL | Deemed Licensee | 02 Nos. 220KV Line bays at Ludhiana substation under Augmentation of transformer in NR- Part-A | 04.12.2014
7 | PGCIL | Deemed Licensee | 400 KV 80 MVAR Bus Ractor at Kotputli S/s under "NRSS XV" | 10.09.2014
8 | PGCIL | Deemed Licensee | Extension of Chamera 400/220 KV Pooling Stn. (GIS)-I No. of 220 KV Line bay under NRSS XXVII | 06.08.2014
9 | PGCIL | Deemed Licensee | 80 MVAR Line Reactor of Barh-II line as Bus Reactor at 400/220 KV Gorakhpur S/s under Transmission System for Immediate Evacuation of power from Barh-II TPS | 02.11.2014
10 | PGCIL | Deemed Licensee | 80 MVAR Line Reactor of Barh-I line as Bus Reactor at 400/220 KV Gorakhpur S/s under Transmission System for Immediate Evacuation of power from Barh-II TPS | 04.11.2014
11 | PGCIL | Deemed Licensee | LILO of 2nd Circuit of400KV NathpaJhakhri- Nalagarh Line at Rampur under Rampur - HEP | 20.10.2014
12 | PGCIL | Deemed Licensee | 02 No. 400KV line bays at Bhiwani(POWERGRID) substation under Constrcution of Two nos. 400KV Line bays at Bhiwani(POWERGRID) substation | 30.11.2014
13 | PGCIL | Deemed Licensee | Various links totaling 1030.426 Kms under Fibre Optic Communication system in NR | 01.08.2014
14 | PGCIL | Deemed Licensee | 765/400 KV 1500 MVA ICT-I at Dharamjaygarh S/s along with associated bays under Supplementry transmission Scheme of upcoming IPP Projects in Chhattisgarh | 09.07.2014
15 | PGCIL | Deemed Licensee | 400 KV 1X125 MVAR Bus Ractor at Bhatapara S/s along with associated bays under Installation of Reactor in Western Region | 26.07.2014
16 | PGCIL | Deemed Licensee | 400 KV 1X125 MVAR Bus Ractor at Raigarh S/s along with associated bays under Installation of Reactor in Western Region | 01.08.2014
17 | PGCIL | Deemed Licensee | 765 KV 3*80 MVAR Switchable line Reactor charges as Bus Reator with associated bays for 765 KV D/C Aurangabad-Padghe Ckt-I at AurangabadS/s under System Strengthening in North/West part of WR for IPP Projects in Chattisgarh(IPP-E) | 02.08.2014
18 | PGCIL | Deemed Licensee | 765 KV 3*80 MVAR Switchable line Reactor charges as Bus Reator with associated bays for 765 KV D/C Aurangabad-Padghe Ckt-II at AurangabadS/s under System Strengthening in North/West part of WR for IPP Projects in Chattisgarh(IPP-E) | 07.08.2014
19 | PGCIL | Deemed Licensee | 420 KV 1*63 MVAR Line Reactor at Raipur S/s ( 1Ckt of 400 KV Raipur Bhadrawati D/C) along with associated bay Equipment under Installation of Rractor (Part-II) in Western Region | 30.08.2014
20 | PGCIL | Deemed Licensee | 400/220 KV 1*500 MVA ICT-III at Navsari GIS along with associated bays under Augmentation of Transformer and Bays in Western Region | 10.07.2014
21 | PGCIL | Deemed Licensee | 400 kV, 1x125 MVAr Bus Reactor at Shujalpur Substation along with ass bays under Installation of Reactor in Western Region | 02.08.2014
22 | PGCIL | Deemed Licensee | 765 KV S/C Satna-Gwalior Ckt-II TL alongwith associated bays and line reactor at Satna end under Transmission System Associated with Rihand-III and Vindhyachal IV Generation Project | 06.08.2014
23 | PGCIL | Deemed Licensee | 765 KV 3*80 MVAR Reactor at Gwalior end for 765 KV S/C Satna-Gwalior ckt-II TL under Transmission System Associated with Rihand-III and Vindhyachal IV Generation Project | 30.09.2014
24 | PGCIL | Deemed Licensee | 1*400 KV Bays at 765/400 KV Indore S/s for 400 kv d/c Indore-Pithampura TL CKT-II under Augmentation of Transformer and Bays in Western Region | 09.08.2014
25 | PGCIL | Deemed Licensee | 1*400 KV Bays at 765/400 KV Indore S/s for 400 kv d/c Indore-Pithampura TL CKT-I under Augmentation of Transformer and Bays in Western Region | 06.09.2014
26 | PGCIL | Deemed Licensee | 1*125 MVAR Bus Reactor at 400 KV Damoh Sub station under INSTALLATION OF REACTORS (PART-II) IN WESTERN REGION | 02.10.2014
27 | PGCIL | Deemed Licensee | 1*125 MVAR Bus Reactor at 400 KV Pirana Sub station under INSTALLATION OF REACTORS (PART-II) IN WESTERN REGION | 04.10.2014
28 | PGCIL | Deemed Licensee | 765 KV Line Bays & 3*80 MVAR line reactor at 765 KV Indore S/S (for 765 KV S/C Bhopal -Indore line ) under LINE BAYS AND REACTOR PROVISION AT POWERGRID SUB-STATIONS ASSOCIATED WITH SYSTEM STRENGTHENING FOR WESTERN REGION | 05.10.2014
29 | PGCIL | Deemed Licensee | 420kV, 1x125MVAr Bus Reactor at Raipur S/s along with associated Bay Equipment under Installation of Reactors(Part-II) in Western Region | 02.10.2014
30 | PGCIL | Deemed Licensee | 3x110MVAR, 765kV Bus Reactor at 765/400kV Wardha S/s under IPP-Set-C | 03.11.2014
31 | PGCIL | Deemed Licensee | 765kV D/c Raipur Pooling Station - Wardha Line-I Transmission Line & associated bays under IPP-Set-C | 17.11.2014
32 | PGCIL | Deemed Licensee | 400kV, 80MVAr Switchable Line reactor for Solapur-Karad Line along with associated bays at Solapur S/s under Installation of Reactors in WR | 26.11.2014
33 | PGCIL | Deemed Licensee | 400kV, 125MVAr Bus Reactor alongwith associated bays at Seoni S/s under Installation of Reactors (Part-II) in Western Region. | 13.12.2014
34 | PGCIL | Deemed Licensee | Conversion of 4nos. 50MVAR Line Reactors for Parli-I&II & Aurangabad-I&II into Switchable Line Reactor at 400kV Pune S/s under Installaltion of Reactors(part-II) in WR | 13.12.2014
35 | PGCIL | Deemed Licensee | 1*125 MVAR Bus Reactor-2 at 400 KV Itarsi Sub station under INSTALLATION OF REACTORS (PART-II) IN WESTERN REGION | 15.10.2014
36 | PGCIL | Deemed Licensee | 765 KV Line Bays & 3*80 MVAR Switchable line reactor at 765 KV Jabalpur Pooling Substation (for 765 KV S/C Jabalpur-Bhopal line ) under Line Bays and Reactor Provision at POWERGRID S/s associated with System Strenghthening for WR. | 20.10.2014
37 | PGCIL | Deemed Licensee | 400/220 KV GIS MAGARWADA (New) Substation in UT –DD along with 315 MVA , 400/220 KV ICT-I &II along with LILO of one ckt of 400kV D/C Navsari – Kala line at Magarwada S/S and 220 KV line bays under Establishment of 400/220kV GIS at Magarwada in UT of DD. | 09.11.2014
38 | PGCIL | Deemed Licensee | 765 kV Line Bay and 3*80 MVAR Line Reactor (Switchable ) at Gwalior Substation ( charged as Bus Reactor under interim contingency) for 765 KV S/C Gwalior-Jaipur Transmission Line-Ckt-II under Orissa C | 24.11.2014
39 | PGCIL | Deemed Licensee | 765kV Line bay and 3*80 MVAR line reactor at Jabalpur SS(charged as Bus reactor under interim contingency) for 765kV D/C Dharamjaygarh- Jabalpur pooling Station transmission line Ckt#2 under Orissa B | 01.12.2014
40 | PGCIL | Deemed Licensee | 1*125 MVAR Bus Reactor along with associated bay at 400 KV Bachau Sub station under Installation of Reactors(Part-II) in Western Region | 03.12.2014
41 | PGCIL | Deemed Licensee | 400 KV 125 MVAR(3 Ph) Bus Reactor -2 along with associated bay at Jabalpur 765/400 KV Pooling SS under Orissa B | 31.12.2014
42 | PGCIL | Deemed Licensee | 765 KV D/C Jharsuguda Pooling Station-Dharamjaygarh near Korba (WR) TL alongwith associated bays and line shunt reactor at Dharamjaygarh near Korba S/s under Transmission System for Phase-I Generation projects in Orissa--Part-B | 31.07.2014
43 | PGCIL | Deemed Licensee | 400 KV 1X125 MVAR Bus Ractor at Gwalior S/s along with associated bays under Installation of Ractor (Part-II) in Western Region | 02.07.2014
44 | PGCIL | Deemed Licensee | 765 KV 4X80 MVAR Bus Reactor at Indore S/s alongwiths associated bays under Transmission System for Phase-I Generation projects in Orissa--Part-C | 02.08.2014
45 | PGCIL | Deemed Licensee | 400 KV 1X125 MVAR Bus Reactor-I Itrasi S/s along with associated bays under Installation of Rractor (Part-II) in Western Region | 07.08.2014
46 | PGCIL | Deemed Licensee | 765 KV 240 MVAR Switchible Line Reactor of Wardha-I bay at Raipur Pooling Stn along with associated bay equipment ( Charged as a Bus Reactor) under Integration of Pooling Station in Chhattishgarh with central part of WR for IPPS Generation Project in Chhatisgarh (IPP-C) | 21.08.2014
47 | PGCIL | Deemed Licensee | 765 KV 240 MVAR Switchible Line Reactor of Wardha II bay (Charged as a Bus Reactor) at Raipur Pooling Stn along with associated bay equipment under Integration of Pooling Station in Chhattishgarh with central part of WR for IPPS Generation Project in Chhatisgarh (IPP-C) | 29.08.2014
48 | PGCIL | Deemed Licensee | 765kV 1*1500 MVA ICT-I and its associated bays at 765/400kV at Aurangabad S/s under Transmission System Strengthening in Wester Part of WR for IPP Generation projects in Chattisgarh | 01.07.2014
49 | PGCIL | Deemed Licensee | 765 KV D/C Wardha-Aurangabad Line-I TL & associated bays alongwith 765KV 3*80 MVAR Line Ractor at 765/440 kV Aurangabad S/s under Transmission System Strengthening in Wester Part of WR for IPP Generation projects in Chattisgarh (IPP-D) | 08.07.2014
50 | PGCIL | Deemed Licensee | 400 KV D/C MB TPS (Annupur) Jabalpur Pooling Stn. Transmission line under Transmission System for Connectivity of MB Power (M.P) Ltd. | 08.08.2014
51 | PGCIL | Deemed Licensee | 400 KV 80 MVAR Switchable line Reactor charged as Bus Reactor with associated bays for 400 KV D/C Aurangabad -Boisar Ckt-II at Aurangabad S/s under Transmission System Strengthening in Wester Part of WR for IPP Generation projects in Chattisgarh (IPP-D) | 01.10.2014
52 | PGCIL | Deemed Licensee | 400 KV 80 MVAR Switchable line Reactor charged as Bus Reactor with associated bays for 400 KV D/C Aurangabad -Boisar Ckt-I at Aurangabad S/s under Transmission System Strengthening in Wester Part of WR for IPP Generation projects in Chattisgarh (IPP-D) | 02.10.2014 | Private Licensee
53 | PGCIL | Deemed Licensee | 765 kV Line Bay and 3*80 MVAR Switchable Line Reactor at Jabalpur Pooling Substation for 765 kV S/C Jabalpur-Bina ckt.-III (IPTC) under Line Bays and Reactor Provision at POWERGRID S/s associated with “SYSTEM STRENGTHENING COMMON FOR WESTERN REGION & NORTHERN REGION." | 05.10.2014
54 | PGCIL | Deemed Licensee | 3×80 MVAR Line Reactor along with line bay (under interim contingency) as Bus Reactor at Satna Substation (for 765kV S/C Vindhyachal Pooling Station - Satna Ckt#1 Transmission line) under Rihand-III and Vindhyachal-IV. | 13.11.2014 | PGCIL
55 | PGCIL | Deemed Licensee | 765 kV Line Bay and 3*80 MVAR Line Reactor (Non-switchable) at Bina Substation (charged as Bus Reactor ) for 765 kV S/C Jabalpur-Bina ckt.-III (IPTC) under LINE BAYS AND REACTOR PROVISION AT POWERGRID SUB-STATIONS ASSOCIATED WITH “SYSTEM STRENGTHENING COMMON FOR WESTERN REGION & NORTHERN REGION. | 13.11.2014 | WRTM
56 | PGCIL | Deemed Licensee | 765kV D/C Wardha- Aurangabad Line 1 and associated bays along with 765kV 3x80 MVAR Line reactor #2 at Aurangabad S/s under Transmission system strengthening in Western part of WR for IPP Generation projects in Chhattisgarh (IPPD). | 08.07.2014
57 | PGCIL | Deemed Licensee | 400 kV 80 MVAR Switchable line reactor charged as Bus Reactor with associated bays for 400kV D/C Aurangabad – Boisar TL Ckt-II at Aurangabad Subsation under Transmission system strengthening in Western part of WR for IPP Generation projects in Chhattisgarh (IPPD). | 01.10.2014
58 | PGCIL | Deemed Licensee | 400 kV 80 MVAR Switchable line reactor charged as Bus Reactor with associated bays for 400kV D/C Aurangabad – Boisar TL Ckt-I at Aurangabad Subsation under Transmission system strengthening in Western part of WR for IPP Generation projects in Chhattisgarh (IPPD). | 02.10.2014
59 | PGCIL | Deemed Licensee | Remaining Portion of Ckt-II of 400 KV D/C Maithon-Gaya line under Common Scheme for 765 kv pooling stations and network for NR. | 08.09.2014
60 | PGCIL | Deemed Licensee | Remaining Portion of Ckt-II of 400 KV D/C Kodarma-Gaya line under Supplementary Transmission System Associated with DVC and Maithon Right Bank Projects. | 08.09.2014
61 | PGCIL | Deemed Licensee | 400 KV D/C Sagardighi-Baharampur TL and associated bays at 400 KV Sagardighi S/s (WBPDCL) and 400 KV Baharampur S/s under ERSS-10. | 26.12.2014
62 | PGCIL | Deemed Licensee | Remaining portion of Ckt-I of 400 KV D/C Maithon-Gaya line under "DVC and Maithon RB Common Scheme". | 30.12.2014
63 | PGCIL | Deemed Licensee | Remaining portion of Ckt-I of 400 KV D/C Kodarma-Gaya line under "Supplementary Transmission System for DVC and Maithan RB." | 30.12.2014
64 | PGCIL | Deemed Licensee | 1 No 400 KV line bay at 765/400 KV Gaya S/s (Kodarma II bay)under "DVC and Maithan RB Common Scheme". | 30.12.2014
65 | PGCIL | Deemed Licensee | LILO of Ckt-II of 400 KV D/C Kahalgaon-Biharsarif at Lakhisarai alongwith associated bays with 2*50 MVAR line Reactor under ERSS-III. | 03.09.2014
66 | PGCIL | Deemed Licensee | 2 Nos of 132 KV line bays at 400/132 KV Lakhisarai S/s under ERSS-III. | 29.09.2014
67 | PGCIL | Deemed Licensee | 1 No 3x105 MVA Single Phase(5th) 400/220 kV Transformer (ICT No-1) and associated bays at Rangpo under Transmission System for Transfer from Generation Project in Sikkim to NR/WR (Part-B). | 03.07.2014
68 | PGCIL | Deemed Licensee | 2 Nos 765 KV Bays 1 No 765/400/33 KV Transformer (3*500 MVA ICT-II) & 1 NO 80 mvar 765 kv Bus Reactor-I (3/80 MVAR) along with bays at Sunargarh Pooling Stn under Transmission System for Phase-I Generation projects in Orissa--Part-A. | 31.07.2014
69 | PGCIL | Deemed Licensee | 63 MVAR line reactor of Ckt-I of 400 KV D/C Kishenganj line at Patna S/s as Bus Reactor along with associated bays under Transmission System for Transfer from Generation Project in Sikkim to NR/WR (Part-B). | 02.10.2014
70 | PGCIL | Deemed Licensee | 63 MVAR line reactor of Ckt-II of 400 KV D/C Kishenganj line at Patna S/s as Bus Reactor alongwith associated bays under Transmission system for transfer of power from generation projects in sikkim to NR/WR Part B eastern region | 29.11.2014
71 | PGCIL | Deemed Licensee | LILO OF Ckt-I of 400 KV Jamshedpur-Rourkela line at Chaibasa along with associated bays under ERSS-III. | 03.12.2014
72 | PGCIL | Deemed Licensee | 400/220 KV 315 MVA ICT-II alongwith associated bays at Chaibasa S/s under ERSS-III | 03.12.2014
73 | PGCIL | Deemed Licensee | 2 Nos of 220 KV Line bays at Chaibasa S/s under ERSS-III. | 03.12.2014
74 | PGCIL | Deemed Licensee | 3X80 MVAR line reactor of 765 KV S/C Ranchi-Dharamjaygarh line at Ranchi S/s as Bus Reactor under "Transmission System for Phase 1 Generation Projects in Jharkhand and West Bengal Part A2." | 21.12.2014
75 | PGCIL | Deemed Licensee | 400 KV D/C (Twin) Bokaro TPS-Kodarma TPS TL & PLCC Equipment for Bakaro Extension-Kodarma TPS under Supplementary Transmission System Associated with DVC and Maithon Right Bank Projects. | 28.12.2014
76 | PGCIL | Deemed Licensee | LILO OF 400 KV D/C Teesta V Siliguri line (Ckt-II) at Rangpo and associated bays at rangpo under Transmission System for Transfer from Generation Project in Sikkim to NR/WR (Part-B). | 31.10.2014
77 | PGCIL | Deemed Licensee | 1 No 3X80 MVAR Line Reactor of 765 KV Angul-Jharsuguda line-II as Bus Reactor at Sundargarh Pooling Stn. along with associated 765 kV bays under Transmission System associated with Phase-1, Generation Projects in Odisha Part-A. | 01.11.2014
78 | PGCIL | Deemed Licensee | 1 No 3x500 MVA(15000MVA) , 765/400/33 KV Transformer, ICT-I, at Sundargarh Pooling Station (Jharsuguda) along with associated bay under Transmission System for Phase-I Generation projects in Orissa--Part-A. | 02.11.2014
79 | PGCIL | Deemed Licensee | 1 No 3x80 MVAR ,Bus Reactor-II at Sundargarh Pooling Stn (Jharsuguda) along with associated 765 kV bays under "Transmission System for Phase-I Generation projects in Orissa--Part-A." | 27.09.2014
80 | PGCIL | Deemed Licensee | LILO OF 132 KV S/C Gangtok-Rangit TL at Rangpo and associated bays at Rangpo under Transmission System for Transfer from Generation Project in Sikkim to NR/WR (Part-B). | 01.12.2014
81 | PGCIL | Deemed Licensee | 1 no OPGW link under Central Sector, 1 no. OPGW link under WBSETCL, 7 nos OPGW links under DVC associated with Fibre Optic Communication System in lieu of existing ULDC Microwave links in Eastern Region. | 01.10.2014
82 | PGCIL | Deemed Licensee | 11 nos. OPGW links under Central Sector associated with Expansion of wideband communication network in Eastern Region under ULDC Microwave link & Wide Band Communication Network | 01.10.2014
83 | PGCIL | Deemed Licensee | i) Nellore Pooling Station – Kurnool 765KV D/C Line along with associated bays and equipments at Nellore Pooling station and Kurnool Substations ii) 1 No. 765kV, 240 MVAR Reactor at Nellore Pooling Station along with associated Bay and equipment. iii) 2 No. 765kV, 240 MVAR Reactor at Kurnool Substation along with associated Bay and equipment under ISGS-Krishnapatnam in SR | 01.11.2014
84 | PGCIL | Deemed Licensee | i) Kurnool– Thiruvalam 765KV D/C Line along with associated bays and equipments at Kurnool and Thiruvalam Substations ii) 2 No. 765kV, 240 MVAR Reactors at Kurnool substation along with associated Bay and equipment iii) 2 No. 765kV, 240 MVAR Reactor at Thiruvalam Substation along with associated Bay and equipment. under SRSS-19 | 29.11.2014
85 | PGCIL | Deemed Licensee | LILO of N’Sagar – Gooty at Kurnool(PG) under "Establishment of Fibre Optic Communication System for Central sector stations Project of Southern Region” | 27.09.2014
86 | PGCIL | Deemed Licensee | 765KV Raichur Kurnool (PG) under Establishment of Fibre Optic Communication System for Central sector stations Project of Southern Region” | 27.09.2014
87 | PGCIL | Deemed Licensee | 400KV Kadapa(PG) – Chittoor (APTransco) under "Establishment of Fibre Optic Communication System for Central sector stations Project of Southern Region” | 01.10.2014
88 | PGCIL | Deemed Licensee | 400KV Kadapa (PG) – Chinakampally (APTransco) under "Establishment of Fibre Optic Communication System for Central sector stations Project of Southern Region.” | 01.10.2014
89 | PGCIL | Deemed Licensee | OPGW communication links along with associated Communication Equipment under Establishmnet of Fiber Optic Communication system for central sector stations project of SR. | 01.07.2014
90 | PGCIL | Deemed Licensee | Thiruvalam - Melakottaiyur (Kalivanthapattu) 400kV D/C Line (Ckt-1 & Ckt -2) along with associated Bays under SRSS-18. | 26.07.2014
91 | PGCIL | Deemed Licensee | 400 KV D/C (Quad) Balipara-Bongaigaon TL along with associated bays at Bongaigaon S/s & Balipara S/s including 30% FSC at Balipara and 4X63 MVAR 420 KV line rector under North East-Northern/Western Interconnector -I Project. | 07.11.2014
92 | RSTCPL | ISTS Licensee | 765 kV S/C Quad Transmission Line from Raichur to Sholapur under RSTCPL | 04.07.2014
93 | Parbati Koldam | ISTS Licensee | 400 kV S/C Banala-Koldam-1 (Ckt-1) (connected with Nalagarh-Koldam ckt-1 near Koldam and line charged and synchronised as Banala-Nalagarh and power flow started) (DOCO as per CERC order dtd. 22.12.2014 and Petition no. 384/TT/2014) | 04.10.2014
94 | Parbati Koldam | ISTS Licensee | 400kV S/C Banala-Koldam-2 (Ckt-2) (Idle charged upto gantry tower near Koldam end) (DOCO as per CERC order dtd. 22.12.2014 and Petition no. 384/TT/2014) | 10.10.2014
95 | Parbati Koldam | ISTS Licensee | 400kV D/C Koldam -Ludhiana ckt-I (Idle charged upto gantry tower of Koldam end) (DOCO as per CERC order dtd. 23.12.2014 and Petition no. 312/TT/2014) | 07.08.2014
96 | Parbati Koldam | ISTS Licensee | 400kV D/C Koldam -Ludhiana ckt-II (Idle charged upto gantry tower of Koldam end) (DOCO as per CERC order dtd. 23.12.2014 and Petition no. 312/TT/2014) | 14.08.2014
97 | BDTCL | ISTS Licensee | 765 kV S/C Bhopal-Indore Transmission Line under Bhopal Dhule Transmission Company Limited | 19.11.2014
98 | BDTCL | ISTS Licensee | 400kV D/C Bhopal-Bhopal Transmission Line under BDTCL | 19.11.2014
99 | BDTCL | ISTS Licensee | 765/400kV Bhopal Substation under BDTCL | 19.11.2014
100 | BDTCL | ISTS Licensee | 765 kV Dhule Aurangabad Transmission Line under BDTCL | 05.12.2014
101 | BDTCL | ISTS Licensee | 765/400kV Dhule Substation under BDTCL | 05.12.2014
102 | BDTCL | ISTS Licensee | 400 kV D/C Dhule-Dhule Transmission Line under BDTCL | 05.12.2014
103 | ENICL | ISTS Licensee | III Circuit of 400 kV D/C Bongaigaon-Siliguri Transmission Line under ENICL | 13.11.2014
104 | ENICL | ISTS Licensee | IV Circuit of 400 kV D/C Bongaigaon-Siliguri Transmission Line under ENICL | 12.11.2014
1 | ENICL | Private Licensee | Ckt-I of Purnea - Biharshariff 400 KV D/C TL | 13.09.13
2 | ENICL | Private Licensee | Ckt-II of Purnea - Biharshariff 400 KV D/C TL | 16.09.13
3 | WRTM | Private Licensee | 400 KV D/C Parli - Pune Transmission Line under WRSS - II, Project B | 01.12.13
4 | WRTM | Private Licensee | 400 KV D/C Pune- Aurangabad Transmision Line under WRSS -II , Project B | 01.01.14